MRI “Blackout” artefact in head and neck cancer imaging

Background

Magnetic Resonance Imaging (MRI) is a non-invasive method of diagnostic imaging. It offers the benefit of good soft tissue contrast and multiplanar scanning without exposure to radiation. Thus, it can be used successfully for head and neck cancer imaging and staging. However, there is the potential for artefacts which can not only obscure pathology, but also reduce the diagnostic yield of the images.

Methods

A retrospective case note study was performed in conjunction with an analysis of the MRI Staging scan. Research was conducted into the possible causes of MRI “blackout” artefact and interference, and this was combined with the overall clinical picture.

Results

A case report highlighting the key fact that the patient’s fixed orthodontic appliances caused complete “blackout” of the oral cavity, pharynx, nasal cavity and orbits on the MRI staging scan in this instance. This resulted in the inability to assess these areas for changes in soft tissue density that could highlight areas of dysplastic change.

Conclusion

Although MRI is a non-invasive radiation-free imaging modality, there can be disadvantages with this type of imaging. Clinicians should be aware of the potential for interference with MRI scanning which can be caused, in some instances, by orthodontic appliances.  In these cases, it is important for clinicians to balance the many benefits of MRI with the potential disadvantage of a reduced diagnostic yield.

Biographies of Authors

Jasem Greval - He graduated from The University of Manchester in 2014 and went on to work in General Dental Practice for 1 year in Greater Manchester. He then spent 1 year as an Oral and Maxillofacial SHO working for the Central Manchester Foundation Trust and Wrightington, Wigan and Leigh Trust. Following this, he took another post as an Oral and Maxillofacial SHO for the Shrewsbury and Telford Trust where he has been working for 1 year.

Labibah Motaleb - She graduated from The University of Bristol in 2015 and went on to work in General Dental Practice for 1 year in the West Midlands. She then worked as an Oral and Maxillofacial SHO for the Shrewsbury and Telford Trust for 1 year and is still currently based there.