Spectrophotometric Detection of Chromium (III) Using Simple Non Fluorescent Schiff Base

Aaliya Minhaza,b,c, Rozina Khattaka, Muhammad Yaseenb, Fawad Alib, Muhammad Raza Shahc, Muhammad Ishaqb

a Shaheed Benazir Bhutto Women University, Peshawar 25120, Khyberpakhtoonkhwa, Pakistan

b Institute of Chemical Sciences, University of Peshawar 25120, Khyberpakhtoonkhwa, Pakistan

c International Center for Chemical and Biological Sciences, H.E.J. Research Institute of Chemistry, University of Karachi, Karachi 75270, Pakistan

ABSTRACT

A Schiff base non-fluorescent chemosensor C6 (2,2'-(1E,1'E)-(hexane-1,6-diylbis(azan-1-yl-1-ylidene))bis(methan-1-yl-1-ylidene)diphenol) was synthesized and characterized by NMR and ESI-MS analysis. It is found that this chemo sensor exhibit good sensitivity for Cr +3 over a wide range of alkaline earth metals, alkali metals and other metal ions especially transition metals ions in acetonitrile solution. We get slope = 0.0234, and SD value is 0.093. The LOD = 13.34µM and LOQ = 40.43 µM i.e. C6 can detect Cr (III) in this minimum concentration through UV-vis method. The Cr+3 recognition of C6 could easily be achieved by means of absorption spectra.

Keywords:  Chemosensor, Cr+3 ion detection, Schiff’s base, Spectrophotometric detection

Corresponding Auther*: Dr. Aaliya Minhaz                                                                                                                  Email Id: aaliyachem@sbbwu.edu.pk