ADDITIONAL UTILITIES OF PATIENT-SPECIFIC CUTTING BLOCKS: REDUCTION OF BLOODLOSS AFTER TKA.

León V.J., Lisón A.J.

Department of Orthopaedic Surgery. Hospital de la Vega Lorenzo Guirao. Cieza (Spain)

Introduction: Total knee arthroplasty (TKA) is associated with substantial blood loss. Sources of bleeding are the femoral and tibial intramedullary canals, which are violated during implantation using standard instrumentation. Patient specific instrumentation (PSI) and computer-assisted surgery (CAS) do not require violation of the intramedullary canals. Therefore, we sought to assess the impact of these methods on blood loss and transfusion requirement.

Materials and methods: A retrospective cohort study was conducted in a series of 107 consecutive primary TKAs. The first group (n = 32) was operated with standard instrumentation, the second group (n = 35) with CAS, and the third group (n = 40) with PSI. A tourniquet was used in all cases. We compared blood loss and transfusion requirement.

Results: Mean calculated total blood loss was 442 ±160 ml, 750 ± 271 ml and 700 ± 401 ml for the PSI, CAS and standard instrumentation groups, respectively (p < 0.001), with no significant differences between CAS and standard instrumentation (p = 0.799). Significant differences were found in terms of transfusion requirements (p = 0.010), with only the difference between PSI and CAS being statistically significant (p = 0.003).

Discussion and Conclusions: PSI reduces blood loss when compared to both CAS and MI TKA performed with the use of a tourniquet. The reduction is attributable to the reduction in surgical time in combination with the non-violation of the femoral and tibial intramedullary canals.