Makoplasty – radiological accuracy and clinical outcomes

CJ O’Neill, SA Brennan

Bon Secours Hospital, Cork.

Introduction

Uni-compartmental knee replacement with standard instrumentation have demonstrated inconsistent long term survival.  CT based semiactive robots have recently become popular to assist in guiding the accuracy of this procedure.  The purpose of this study was to examine the implant accuracy and short term patient outcome using this new technology.

Methods

50 consecutive patients undergoing medial compartment robotic assisted knee replacement were analysed.  There were 29 males and 21 females with a mean age of 63years.  The mean height, weight, ASA and pre-operative deformity were documented.   Pre and post-operative Oxford, WOMAC and Knee Society Scores were compared using a paired student’s t-test.  20 patients underwent post-operative low dose CT scans.  The 3D intraoperative implant planning position was then compared to the final postoperative femoral and tibial component position.  Root mean square errors were used to quantify average alignment accuracy.

Results

The mean patient height was 1.72m, weight 89.3kg and BMI 29.9.   Seven patients were ASA grade 1, 29 patients were grade 2 and 14 patient’s grade 3.  The mean varus deformity was 4.4° and the mean fixed flexion deformity was 2.1°.   The mean Oxford score improved from 24.5 pre-operatively to 38.3 post-operatively p<0.0001. The mean WOMAC score improved from 39.1 pre-operatively to 13 post-operatively p<0.0001. The mean KSS knee score improved from 50.1 to 80.2 and the KSS functional score from 56.2 to 80.6 p<0.0001.  Root mean square errors for implant position averaged less 3 degrees in all planes.

Conclusion

Robotic assisted medial compartment knee replacement can achieve excellent early clinical and functional results.  The high levels of accuracy demonstrated with this technology may help to reduce the rates of early failure associated with malalignment, aseptic loosening, polyethylene wear and disease progression in the non-involved compartment.