Label-free leukemia differentiation with high-throughput digital holographic microscopy

Matthias Ugele1, 5, Markus Weniger1, Lukas Richter1, Manfred Stanzel1, Michael Bassler2, Stefan Krause3, Oliver Hayden4 & Oliver Friedrich5

1 In-Vitro DX & Bioscience, Department of Strategy and Innovation, Siemens Healthcare GmbH, Günther-Scharowsky-Str. 1, 91058 Erlangen, Germany.

2 Analysesysteme und Sensorik, Fraunhofer ICT-IMM, Carl-Zeiss-Str. 18-20, 55129 Mainz, Germany.

3 Medizinische Klinik 5, Hämatologie & Internistische Onkologie, Ulmenweg 18, 91054 Erlangen, Germany.

4 Heinz-Nixdorf-Chair of Biomedical Electronics, Department of Electrical and Computer Engineering, TranslaTUM, Campus Klinikum rechts der Isar, Technical University of Munich, Ismaningerstr. 22 81675 Munich, Germany.

5 Institute of Medical Biotechnology, Department of Chemical and Biological Engineering, Friedrich-Alexander-University Erlangen-Nuremberg, Paul-Gordan-Str. 3, 91052 Erlangen, Germany.

Blood smear analysis is the gold standard for routine diagnosis of hematological disorders and serves as recommendation for further differential diagnosis such as flow cytometric immunophenotyping1,2,3. Analysis and interpretation of peripheral blood smears is time consuming and depends on interobserver variation4,5. Most recently, label-free imaging based on digital holographic microscopy (DHM) emerged with the potential to perform label-free hematology analysis6. Here, we present label-free leukemia differentiation of clinical samples using a differential DHM in combination with three-dimensional hydrodynamic focusing of blood cells. Based on principal component analysis and physical parameters we developed a gating strategy for the differentiation of ten leukocyte subtypes which enabled the differentiation of acute myeloid leukemia (AML), acute lymphocytic leukemia (ALL), chronic lymphocytic leukemia (CLL), and myeloproliferative neoplasms (MPN). Furthermore, we observed the possibility of MPN subtyping and demonstrated in a one case study the progression of AML from first diagnosis to remission.

Presenting author details

Matthias Ugele

Siemens Healthcare GmbH

Strategy and Innovation

Technology Center

Germany

HC SI TC DBS DE

Günther-Scharowsky-Str. 1

91058 Erlangen, Deutschland

Tel.: +49 9131 7-33035

Fax: +49 9131 7-32164

mailto : matthias.ugele.ext@siemens-healthineers.com

References

1. Barcia, J. J. The Giemsa Stain: Its History and Applications. Int. J. Surg. Pathol. 15, 292-296 (2007).

2. Craig, F. E. The utility of peripheral blood smear review for identifying specimens for flow cytometric immunophenotyping. Int. J. Lab. Hematol. 39, 41-46 (2017).

3. Adewoyin, A. S. & Nwogoh, B. Peripheral blood film – a review. Ann. Ibd. Pg. Med. 12, -79 (2014).

4. Dunning, K. & Safo, A. O. The ultimate Wright-Giemsa stain: 60 years in the making. Biotech. Histochem. 86, 69-75 (2011).

5. De Vet, H. C. W., Koudstaal, J., Kwee, W., Willebrand, D. & Arends, J. W. Efforts to improve interobserver agreement in histopathological grading. J. Clin. Epidemiol. 48, 869-873 (1995).

6. Vercruysse, D. et al. Three-part differential of unlabeled leukocytes with a compact lens-free imaging flow cytometer. Lab Chip 15, 1123-1132 (2015).