Abstract Template

Efficient RP-UFLC-PDA Analysis of Etomidate via Proficient Coalition of Rational Design, Desirability and Prediction of Percentage Errors

Saurabh B. Ganorkar, Atul A. Shirkhedkar

1R. C. Patel Institute of Pharmaceutical Education and Research, Shirpur, MS, India

(North Maharashtra University, Jalgaon, MS, India)

2 R. C. Patel Institute of Pharmaceutical Education and Research, Shirpur, MS, India

(North Maharashtra University, Jalgaon, MS, India)

Abstract (not more than 300 words)

A mathematical relationship between the significant experimental variables with the responses; established by response surface methodology; accompanied by statistical analysis and proved by prediction of errors became an essential effort, to discern the intricacies in optimization. That is the selection of optimum combination of input variables for achieving the desired method responses is crucial during development and validation. Hence, present investigation aims to describe the coalition of the Box–Behnken experimental design to optimize the combined effects of significant factor effects influencing the RP-UFLC-PDA determination of Etomidate (ETD). Percentage of methanol; pH of mobile phase; Flow rate; Column temperature were optimized for, Retention time; Peak area; Tailing factor and Theoretical plates. Design Expert®) was used to calculate and optimize the responses simultaneously by means of desirability approach and prediction of percentage error. methanol (75 % v/v with water); pH of mobile phase 6.5 at 30 ᴼC column temperature and flow rate of 1.0 mL/min was found to be the optimized condition to produce desirable responses. System suitability limits were defined and RP-UFLC method was developed and validated further over the concentration range of 2 - 12 μg/mL at 243 nm according to the ICH guideline. Rapid; efficient; simple and robust determination of ETD was possible with an improvement over the existing method/(s).

Keywords - Box-Behnken Design, Desirability, Prediction of Percentage Error, RP-HPLC

Professional Biography (100-150 words)

Dr.) Saurabh B. Ganorkar is perusing his PhD in Medicine and Pharmacy by North Maharashtra University (NMU) Jalgaon, and Department of Pharmaceutical Chemistry, Sophisticated Analytical Instruments Facility, R. C. Patel Institute of Pharmaceutical Education and Research, Shirpur, MS, India. He has his expertise in synthesis, biological evaluation of NCE’s and pharmaceutical chromatographic and spectroscopic analysis. His concept for application of DoE in HPLC analysis with focus on optimization of conditions for forced degradation of pharmaceuticals creates new ways to explore stability studies of pharmaceutical drugs. He has 15 scientific research publications including 5 National and 10 International. Presented 6 posters at conferences of National and International repute. Received two research grants from University Grants Commission and Vice-Chancellor’s research Motivation Scheme worth 2.85 Lakh’s INR.

Email Id:pharmacysaurabh@gmail.com

Any Comments: