Abstract

HPLC quantitative determination of water soluble vitamins in Neuro B

Analytical Chemist Fatos Osmani, B.S.Chemistry Brigitt Marku,

1 University of Tirana,Faculty of Sciences, Chemistry, Tirana-Albania

2 Fresno Pacific University, CA, USA

3Third Author Affiliation (University of London, UK)

The method:

Instrument :Agilent 1100

Column: Luna C18(2) 100Å(150x4.6mm)(5-µm)

Mobile Phase:

(A)25mM K2HPO4 at pH=3.5

(B)25mM K2HPO4 at pH=3.5+MeCN(50/50 v/v)

Flow 1mL/min

Dilution: 40 ng/µL

Gradient elution

| Time (min) | Phase B (%) | Flow (mL/min) |
| --- | --- | --- |
| 0 | 0 | 1.00 |
| 6 | 40 | 1.00 |
| 15 | 40 | 1.00 |
| 16 | 0 | 1.00 |
| 22 | 0 | 1.00 |

UV Detector time table:

| Time (min) | Wavelength (nm) |
| --- | --- |
| 0 | 270 |
| 3.5 | 290 |
| 5.0 | 360 |

Results:

|  | Retention time(min) | Retention factor | Efficiency (plates/column) | Resolution (tangent meth.) | Selectivity | Tailing factor |
| --- | --- | --- | --- | --- | --- | --- |
|  | tR | k’ | N | R | α | Tf |
| Vitamin B1 | 2.977 | 0.756 | 6354 | - | - | 1.004 |
| Vitamin B6 | 4.179 | 1.465 | 42654 | 10.432 | 1.937 | 1.043 |
| Vitamin B12 | 7.364 | 3.344 | 83670 | 34.852 | 2.282 | 1.028 |

Professional Biography

Fatos  Osmani has completed his University studies at the age of 23(1971) from State University of Tirana, Faculty of Sciences, School of Chemistry. He has worked for many pharmaceutical firm after his return from training in PR of China(1975-19760.Chief of Laboratory of Control at Antibiotic factory , Prodental pharma and later Preformed as Senior HPLC analyst. His publications include on Chemical reactors with PhD. Eduard Plasari (1976), on HPLC  troubleshooting with PhD. John Dolan (2012) and this last article presented in this Congress (2018).

Paste your Photograph here

Email Id: fatos.osmani@gmail.com

Any Comments: