Abstract

HPLC quantitative determination of Enalapril Maleate in 20 mg tablet.

Chem.Eng. Fatos Osmani, PhD. Melissa Troshani

A simple, rapid, economical, and highly sensitive stability-indicating HPLC method was developed and validated  for determination of enalapril maleate and related substances namely diketopiperazine.

Method; Chromatographic separation was achieved using an Agilent 1100 Series HPLC system and a column Zorbax C8 (250x4.6mm)(5-µm) and a analytical guard column Zorbax C8 (12.5x4.6mm)(5-µm) was connected to protect the column.

Mobile phase:

A: 30mM H3PO4 adjusted at pH=2.0 with TEA+MeCN at ratio (65:35 v/v)

Flow rate: 1mL/min

UV Detection at 215 nm

CCT 40ºC

Dilution 40 ng/µL

RSD<1.5 %; correlation coefficient r2=0.99999;Resolution≥2.0; Tf<1.5;

The method is fast and reliable and is used for routine quantitative analysis as well as quality control of enalapril maleate in pharmaceutical formulations, it is in use at Profarma Control Laboratories since May 2007.

PhD Melissa Troshani, completed her university studies on Pharmaceutical Sciences in Tirana at the University of Medicine on 2006. She joined Profarma sh.a. on 2006 at the Control Laboratory, she held the title of the HPLC Analyst, on 2008 she joined National Center of Drugs Control. From 2011 now she is as Head RA, GDD, Albania&Kosovo - Novartis Pharma Services Inc., Representative office, Tirana. On 2016 she got her PhD on Pharmaceutical Sciences.

PhD Melissa Troshani has published many scientific articles at different scientific publications and has taken part in many International and Regional Congressess and Conferences.

E-mail: melissatroshani@gmail.com melisa.troshani@novartis.com

: