Abstract

HPLC quantitative determination of Enalapril Maleate in 20 mg tablet.

Chem.Eng. Fatos Osmani, PhD. Melissa Troshani

University of Tirana, Faculty of Sciences- Chemistry, Medicine University of Tirana- Pharmacy

A simple, rapid, economical, and highly sensitive stability-indicating HPLC method was developed and validated  for determination of enalapril maleate and related substances namely diketopiperazine.

Method; Chromatographic separation was achieved using an Agilent 1100 Series HPLC system. Column was from Agilent Technologies Zorbax C8 (250x4.6mm)(5-µm) an analytical guard column Zorbax C8 (12.5x4.6mm)(5-µm) was connected to protect the column.

Mobile phase:

A: 30mM H3PO4 adjusted at pH=2.0 with TEA+MeCN at ratio (65:35 v/v)

Flow rate: 1mL/min

UV Detection at 215 nm

CCT 40ºC

Dilution 40 ng/µL

RSD<1.5 %; correlation coefficient r2=0.99999;Resolution≥2.0; Tf<1.5;

The method is fast and reliable and is used for routine quantitative analysis as well as quality control of enalapril maleate in pharmaceutical formulations, it is in use at Profarma Control Laboratories since May 2007.

Professional biographies

Melisa Troshani, PhD completed her university studies on Pharmaceutical Sciences in Tirana at the University of Medicine, Department of Pharmacy, on 2006. During the same year, she joined Profarma sh.a. at the Quality Control Department, where she got the title of the HPLC Analyst. In 2008, she joined local Health Authority, in the Marketing Authorization Department. From 2011 and now on, she is Head of Regulatory Affairs, GDD, for Albania & Kosovo in the Novartis Representative office, in Tirana. As of 2016 she got her PhD title on Pharmaceutical Sciences.Melisa Troshani, PhD has published many scientific articles at different scientific publications and has taken part in many International, Regional and local Congresses and Conferences.

Chem. Eng. Fatos  Osmani has completed his University studies at the age of 23(1971) from State University of Tirana, Faculty of Sciences, School of Chemistry. He has worked for many pharmaceutical firm after his return from training in PR of China(1975-19760.Chief of Laboratory of Control at Antibiotic factory , Prodental pharma and later Preformed as Senior HPLC analyst. His publications include on Chemical reactors with PhD. Eduard Plasari (1976), on HPLC  troubleshooting with PhD. John Dolan (2012) and this last article presented in this Congress (2018).

E-mail: melissatroshani@gmail.com

E-mail: fatos.osmani@gmail.com

: