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Achilles tendon ruptures occur with and annual incidence of 18 per 100,000. Though treatments for these tears can be operative or non-operative, the most common operative repair is an end to end repair using suture. Two popular sutures used in the repair, Ethibond and FiberWire®, are coated with polyethylene. We present a case of delayed Achilles tendon repair failure due to polyethylene wear.
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