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Abstract
Due to the dangers of hospital waste and lack of attention to the disposal of such waste in Behbahan city, seems to consider how the disposal of hospital wastewater is of paramount importance. If the hospital sewage can be treated appropriately treated wastewater used for irrigation purposes. This cross-sectional study was conducted in 2015 on maroon River in Behbahan city. During the spring and summer sampling at 4 stations and 7 parameters were measured in Shahidzadeh hospital. Based on the results of raw sewage into Maroon River situation is not satisfactory. The results show that the physicochemical parameters of water in the wastewater entering the river are higher than environmental standards. The more specialized the research; to create a positive attitude in managers and planners and funding for wastewater treatment in all hospitals of the province, set specific authority for the maintenance of water and wastewater facilities and hospital training supervision and monitoring systems wastewater; Sewage Treatment Plants fix the problem in some hospitals, hospitals and sanitation facilities due to sewage connections or use of activated sludge systems were useless and the reuse of treated wastewater by  hospitals  that  activated sludge systems with non-fruit trees recommended for landscape irrigation and tree planting.
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