Percutaneous Electrochemotherapy of

Hepatocellular Carcinoma at Hepatic hilum

Authors: L. Tarantino1, A. Nasto1, G. Busto2, S. Bortone3, R. Fristachi4, R.A. Nasto1, P.

Tarantino2, L. Cacace4, M.R. Romano5; 1Cancer Surgery, A.Tortora Cancer Hospital,

Pagani (sa), IT, 2Oncology, A.Tortora Cancer Hospital, Pagani (sa), IT, 3Radiology,

A.Tortora Cancer Hospital, Pagani (sa), IT, 4Anatomopathology, A.Tortora Cancer

Hospital, Pagani (sa), IT, 5Anesthesiology, A.Tortora Cancer Hospital, Pagani (sa), IT

Background and Aims: Thermal Ablation of Hepatocellular Carcinoma infiltrating the hepatic hilum (hh-HCC) is contraindicated because of possible severe thermal injury of main bile ducts, hepatic hilum vessels or duodenum . We evaluated the feasibility, efficacy and safety of Electrochemotherapy (ECT), a non-thermal  ablation technique, in a series of patients with hh-HCC.

Method: 15 patients (13M,2F; 43-85 year, mean: 61 year), 11 in Child-Pugh-A, 4 in Child-Pugh- B-class, with biopsy proven hh-HCC (diameter range: 2.5-5.5 cm; mean: 3.6 cm) underwent ECT. Four to six electrode-needles connected to Cliniporator Vitae® (IGEA SpA, Carpi, Modena, Italy), a pulse generator with 6 independently controlled and electrically isolated outputs, each providing up to 3000 Volts, were inserted percutaneously under US guidance along the external margin of hh-HCC . Eight minutes after intravenous bolus injection (15000 IU/m2) of Bleomycine sulfate (Bleoprim®, Sanofi Aventis, Paris, France), electric pulses were delivered. 9 patients had complete or partial portal vein tumor thrombosis (PVTT), 6 patients had a hh-HCC next to main portal vein bifurcation. . All patients underwent control of the efficacy by contrast-enhanced-MDCT 4 weeks after treatment and follow-up CT controls every 6 months thereafter.

Results:  No perioperative major complication occurred. 2/15 (13%) patients died because of  hemorrhage from GEV at 4 and 5 weeks after treatment. Post-treatment CT showed complete absence of enhancement of the treated nodule and/or PVTT in 11/13(85%) and partial necrosis in 2/13(15%) cases. The follow-up ranged from 15 to 36 months (median: 14 months). Follow-up-CT showed local progression of the tumor in the 2 cases of partial response. 4 patients dropped-out the follow-up at 6, 9, 10 and 12 months because of death from liver failure in 3 and hemorrhage from gastroaesophageal varices in 1 case, respectively. In these 4 patients, 6-months-CT confirmed complete necrosis and absence of local recurrence. In the other 7 patients, no local recurrence was detected at CT during follow-up. During follow-up, intrahepatic recurrences in other segments were detected in 4/13 (31%)patients.

Conclusion: ECT seems to be a feasible, safe and effective treatment for local control of hh-HCC. Because of a relative high risk (13%) of late post-operative hemorrage from GEV, patients with at-risk for bleeding varices should be excluded.

Figure: