Loss of Trial Femoral Head, A Rare Intraoperative Complication During Total   Hip Arthroplasty: A Case Report

Dr. Shubham Y. Dakhode

Senior Resident, Department of Orthopaedics,

TNMC & BYL Ch. Nair Hospital, Mumbai

Dr. Ketan M. Naik

Senior Resident, Department of Orthopaedics,

TNMC & BYL Ch. Nair Hospital, Mumbai

Tanmay Avhad

Junior Resident, Department of Orthopaedics,

TNMC & BYL Ch. Nair Hospital, Mumbai

Abstract:

The  one of the most important  step while performing total  hip replacement  is trial  reduction of implant. While dislocating or reducing trail implant  the femoral  trial head  may disengage and migrate into the deep  tissue  space of  the pelvis.  Such a complication can  be  very frustrating  to the  surgeon and  sometimes to the  patient  also.  70-year-old male  farmer presented with  right  neck  femur fracture. The patient  was planned  for total  hip replacement. The trial  reduction was done and the hip relocated and checked for range and  stability.  On  performing the  dislocation maneuver the  trial  head disengaged  and  migrated into the surrounding soft tissue and could not be visualized  in spite  of  multiple  attempts. The  Final head  was attached and the final reduction  performed  and the patient was  closed.  The  trial  head  couldn't  be  detected  on  the  portable  fluoroscopy  machine  and  immediate  radiographs.  A  CT  on  the  3rd post-operative  day  revealed  that  the  trial  head  was  lying  next  to  the  iliac  bone,  within  the  pelvis.  A  3,  6  and  12  month  follow  up  of  the patient showed a normal clinical examination and patient was able to walk full weight bearing.

Conclusion: Although a  rare complication,  but  surgeon should know  about this  complication.  Once  disengaged  it  is  very  difficult  to  retrieve  the trial  head  from the soft tissue. Various precautions have to be kept in mind to prevent its occurrence. The  trial-head may be kept in situ as it’s a sterile implant  and the  patient  may be followed-up to assess  for any complications.  We may also suggest implant  manufacturers  to have radio-opaque trial  implants  to allow  for  easier  detection via fluoroscopy in the event of disengagement.

Recent Publications:

1. Abouel-Enin  S.,  et al. “Intra-pelvic migration of femoral  head trial  in  total  hip arthroplasty,  a  rare intra-operative complication: a  systematic literature review”.  Musculoskeletal Surgery 100.2 (2016): 77-81.

2. Ikeuchi K.,  et al. “Intraoperative migration of the trial  femoral head  into  the pelvis  during  total hip  arthroplasty”.  Nagoya Journal of Medical Science  76 (2014): 203-210.

3. Citak M.,  et al. “Intrapelvic dislocation of  a femoral  trial  head during primary  total  hip arthroplasty  requiring laparotomy for retrieval”.  The  Open Orthopaedics Journal  7  (2014):  169171.

4. Hamoui M.,  et al. “Pitfall  in total  hip arthroplasty: intraoperative migration  of  the trial  femoral  head through the iliopsoas muscle”.  European Journal  of Orthopaedic  Surgery and Traumatology  22.8 (2012): 713-716.

5. Madsen WY.,  et al. “Successful intraoperative retrieval  of  dislocated  femoral trial head  during total  hip  arthroplasty”.  The Journal of Arthroplasty  27.5 (2012): 820. e9-11.

Dr. Shubham Dakhode is a Orthopaedic Surgeon based in Mumbai, Maharashtra. He has completed his training from the reputed Seth GS Medical College & K.E.M Hospital, Mumbai which is one of the largest Orthopaedic department in Asia. He is specially trained in Knee, Hip replacement. He is also trained in Complex trauma, Sport medicine, Hand and Foot deformity correction, Pediatric Orthopedics, Ilizarov and limb lengthening. He has a keen interest in academics, teaching and clinical research.