Machine learning-based CT angiographic-derived fractional flow reserve (CT-FFR) for diagnosis of functionally significant coronary artery disease

Ziyu An, MM1#, Jinfan Tian,MD,PhD1#, Xin Zhao,MD,PhD1, Mingduo Zhang,MD,PhD1, Lijun Zhang,MM2, Xueyao Yang,MM1, Libo Liu,MM1,3,  Xiantao Song,MD,PhD1

1. Department of Cardiology, Beijing Anzhen Hospital, Capital Medical University, 100029, Beijing, China

2. Department of Radiology, Beijing Anzhen Hospital, Capital Medical University, 100029, Beijing, China

3. Department of Cardiology, The Second Affiliated Hospital of Shandong First Medical University, Taian, Shandong 271000, P.R. China.

#These authors contributed equally to this work.

Abstract:

Introduction: Machine learning (ML) based CT angiographic-derived flow reserve fraction (CT-FFR) can effectively improve the efficiency of diagnosing coronary heart disease and may be a new non-invasive diagnostic and functional assessment modality for coronary artery disease (CAD). This meta-analysis evaluated the diagnostic accuracy of ML-based CT-FFR and compared it with coronary CT angiography (CCTA) using invasive FFR as reference.

Methods: We used the PubMed and Cochrane Library databases to search for relevant articles published between January 2008 and April 9th, 2022, with the following parameters: 'machine learning' AND " 'computed tomography angiography' AND 'fractional flow reserve'" or 'CT-FFR' or 'FFR-CT'. We calculated combined sensitivity and specificity estimates based on the corresponding 95% confidence intervals (CI) and the pooled subject operating characteristic curves (sROC).

Results: The 13 studies published between 2018 and 2022 included 3067 patients and 3902 vessels. At the per-vessel level, ML-based CT-FFR had a combined sensitivity and specificity of 80% (95% CI , 76-83%) and 86% (95% CI , 83-89%), compared to 84% (95% CI , 78-88%) and 91% (95% CI , 86-94%) on a per-patient level. There was no significant difference between ML-based CT-FFR and CCTA at the patient and vessel levels (0.84 versus 0.92 per patient; 0.80 versus 0.87 per vessel). However, the specificity of ML-based CT-FFR was higher than that of CCTA (0.91 versus 0.36 per patient; 0.86 versus 0.35 per vessel).

Conclusions: CT-FFR based on ML has greater diagnostic specificity and PLR than CCTA for detecting functionally significant CAD.

Keywords: Computed tomography angiography; Coronary artery disease; flow reserve fraction; machine learning; Hemodynamics