# DOES COMPUTER-ASSISTED NAVIGATION IMPROVE BASEPLATE SCREW CONFIGURATION IN REVERSE SHOULDER ARTHROPLASTY? A SYSTEMATIC REVIEW AND META-ANALYSIS OF COMPARATIVE STUDIES

Ausberto Velasquez Garcia, M.D., Glen Abdo, M.D., M.P.H

## Abstract

### Introduction

Navigation technologies have improved accuracy and precision in positioning glenoid components during shoulder arthroplasty. The influence of navigation on baseplate screw placement has not been independently investigated. This study aimed to evaluate and synthesize the best scientific evidence on the influence of intraoperative navigation on the length and number of screws for primary baseplate fixation in reverse total shoulder arthroplasty procedures.

### Methods

In August 2022, PubMed, Scopus, and Embase databases were accessed. We analyzed the screw purchase length, the number of screws required for the fixation of the baseplate, and the proportion of cases fixed with two screws in all clinical trials, comparing navigation to standard instrumentation for reverse shoulder arthroplasty. Following an evaluation of the heterogeneity of the studies, DerSimonian-Laird random-effects models were utilized to merge data from separate studies.

### Results

The systematic search revealed a total of 2034 articles. After excluding duplicates and irrelevant studies, 633 shoulder arthroplasties from 6 trials were included in the analysis. The pooled mean difference in screw purchase length was 5.839 mm (95 %CI 4.496 to 7. 182) in favor of navigation (P < .001). In addition, significant differences were also found in the number of screws per case (- 0.547, 95 %CI -0.890 to −0.203, P = .002) and in the proportion of cases fixed with two screws (Odds Ratio 3.182 95 %CI 1.057 to 9.579, P = .040) in favor of the navigation group.

### Conclusions

Intraoperative navigation improves the baseplate screw placement, allowing for a greater screw purchase length and fewer screws to achieve primary fixation of the glenoid component during reverse shoulder arthroplasty. It is unclear whether these improvements will increase the longevity of the prosthesis or the clinical outcomes of the patients.