Abstract Template

Abstract Title: Mind the Gap: Fixing the “Break” between Process and Control Engineering.

Amir Kaufman1

1 Tel Aviv University

Abstract (not more than 300 words)

Two different engineering roles must work together to successfully design and implement industrial facility processes: The process engineer and the control engineer.

The process engineer designs the industrial facility processes. While there are different methods for defining how an industrial facility should operate, such as textual functional specifications, flow charts, etc., each method offers only a partial solution to the problem of component interaction. As a result, in most cases, the functional specifications used to develop a facility's control system are vague  and inaccurate. Ironically, the functioning of a control system has a massive effect on the facility's performance, far beyond its own cost, which is usually only 1-2% of the entire plant.

The health and performance of the control system depends not only on the quality of definitions provided by the process engineers, but also on the ability of the control engineers. Control engineers translate the functional specs into control software code, usually run by a PLC.

As if understanding the technical requirements isn’t hard enough, translating these requirements into code often poses difficulty for control engineers, who are usually electrical engineers by trade, not computer scientists. PLC programming languages are primitive; if  process engineering requirements are too challenging, control engineers are often forced to “round corners” or simplify the control action. Since they may not understand the process needs behind the orders, control engineers can easily make incorrect decisions in their implementation.  Completing the project can be a big problem;. as process engineers have little means to test each and every detail of the control software, they cannot close the design loop.

Ultimately, this disconnect between process and control engineering results in elongated development cycles, shutdowns, and poor performance. Drastic measures are needed to bridge the gap between process and control and allow process engineers to "take control" over the control software, which runs the facility they design.

Keywords—Four key words or phrases in alphabetical order, separated by commas

Control engineering, control system, PLC, process engineering

Professional Biography (100-150 words)

Amir Kaufman received his B.Sc. with honors from Tel Aviv University in 2005, then worked at global renewable energy leader Ormat (NYSE: ORA) as a cross-organizational engineering authority. Amongst other improvements, he introduced developments in the automation of geothermal power plants. In 2014, he and Dror Roth established WonderLogix, a company dedicated to revolutionizing the way control software is designed, programmed and maintained.

Amir Kaufman

amir@wonderlogix.com

Any Comments:

We would prefer to do either an Oral presentation or a Workshop.