## Title of the Abstract: Spectral Resolution and simultaneous quantification of Levodpa, Carbidopa and Entacapone by Artificial Neural Networks Presenting Author Name:Mahsa Khalili

Affiliation:-

University:IAU-Tehran North branch

Country:IRAN

Scientific Session name / number:

Category: Poster presentation

# Abstract:
Levodopa, Carbidopa and Entacapone in pharmaceutical formulation were simultaneously quantified by UV–Vis spectrophotometric studies and Artificial Neural Networks (ANN). Absorption spectra of three components were recorded in 200–400 nm spectral region with an interval of 1 nm. The calibration models were thoroughly evaluated at several concentration levels using the spectra of synthetic ternary mixture. Two layer feed-forward neural networks using the back-propagation algorithm (B.P) has been employed for building and testing models. The number of neurons in the hidden layer was optimized. The Relative Standard Deviation (RSD) for each component in the real sample was calculated as 0.045, 0.486 and 0.214 for Levodopa, Carbidopa and Entacapone, respectively. The results showed a very good agreement between true values and predicted concentration values and were compared with the standard chromatographic method results. The proposed procedure is a simple, precise and convenient method for the simultaneous determination of Levodopa, Carbidopa and Entacapone in commercial tablets.

# Biography:

Mahsa khalili has obtained her B.SC (Applied Chemistry) in 2007 from IAU (Karaj Branch). She followed her education at chemistry and chemical engineering research center of IRAN and awarded M.Sc degree in Analytical Chemistry. Due to her motivation, she has experienced a vast range of quality control and research activities in the field of Food & Drug. She has started her Ph. D education in 2014. She also has job experience as a QC supervisor in a pharmaceutical company. She is Chair of the board of Directors in NAP LAB, her own R&D Laboratory as well. She has published two ISI papers until now.

Research Interests: Biomarker and Biosensors analyses, separation in biochemistry, Nano-liquid chromatography  techniques, Spectrophotometric techniques in separation, Drug delivery

Mail Id: chem.khalili@gmail.com

Contact Number: 00989124677489

Linked In account: mah_sa_khalili@yahoo.com