Abstract-

Study Design: Anthropometric observational Study

Objectives: The aim of this study is to understand the anatomic relationship of C1 C2 with Trans-Articular Screws (TAS), to overcome the difficulties related with TAS placement and to minimize the technique related complications.

Method: It is an anthropometric study with retrospectively obtained anatomical data of randomly selected 116 patients from a single centre. The anatomical measurements like pars width, pedicle diameter, screw trajectory, and length were evaluated  on the axial, sagittal and 3D reconstructed CT scan using the radiant DICOM viewer software.

Result: The average age of males and females is found to be 28 and 29 years, respectively. The mean right pars and left pars width (mm) is 5.84± 0.95 and 5.70 ± 1.18 respectively. The mean right pars and left pars height (mm)  is 5.90± 1.2 and 6.0 ± 1.1 respectively. The mean lateral angulation (degree) in female is 10.15 ± 1.73 and male is 26.33 ± 3.32. The average screw length (mm) measured  in males 41.74 ± 5.63 and in females 41.35 ± 4.77 respectively .

Conclusion: This study provides a data base of morphometric characterstic of the C1C2 vertebrae in the indian population. The C1C2 pars width and height measured in the current study can guide the selection of TAS screws in the indian population. This study may be used to design and devlop the applicability of screws and its implant in india.

Keywords: Anthropometry, C1 C2 joint, Atlantoaxial instability,  Trans-articular screw, indian population