3D printing motion-preserving cervical joint system implantation for treatment of cervical myelopathy: a first case report

He Xijing1,2*, Cai Xuan1, Qin Jie1, Zangquan Jin1, Li Haopeng1

1Department of Orthopaedic Surgery, Second Affiliated Hospital of Xi’an Jiaotong University, Xi’an 710004, Shaanxi Province, China; 2Department of Orthopaedic Surgery, Xi'an International Medical Center Hospital, Xi’an 710086, Shaanxi Province, China

Email: xijing_@vip.tom.com, +86-87679584}

Abstract

OBJECTIVE: To explore the short-term clinical effect of 3D printing motion-preserving cervical joint system implantation in the treatment of 2 patients with cervical spondylotic myelopathy.

METHODS: In December 2020, a self-developed 3D printing motion-preserving cervical joint system implantation technology was used to treat 2 patients with cervical spondylotic myelopathy. A total of 16 weeks were followed up at the time of submission. VAS score and JOA score were used to evaluate the patient’s pain and neurological recovery at 1, 6, 12, and 16 weeks after the operation; imaging techniques such as dynamic position X-rays and three-dimensional CT were used to evaluate the position of prosthesis and the preservation of cervical spine motion function.

RESULTS AND CONCLUSION: At 1 week, 6 weeks, 12 weeks and 16 weeks postoperative follow-up, the patient’s limb muscle strength, VAS score, and JOA score were significantly improved compared with preoperatively, and the head and neck movement function was good. X-ray examination at 6 weeks and 12 weeks after operation showed that the cervical spine physiological curvature was well restored, and the intervertebral height was maintained well; 3D-CT showed that the prosthesis components and the cervical spine bones were in good fit; the dynamic position X-ray shows that the prosthesis endplate component has a certain angle of opening and closing changes during flexion, extension and lateral flexion, and there is no cervical spine instability, indicating that the prosthesis retains part of the cervical spine motion function.

Biography: {Max words limit 100}

Dr. He Xijing, M.D., Ph.D.

President, Xi’an International Rehabilitation Medical Center

Chairman, Neurorestoratology Association of Chinese Medical Doctor Association; Chinese Association of Rehabilitation Medicine—Shaanxi Branch;

Vice Chairman, International Association of Neurorestoratology (IANR); China Medical Biotech Association—3D Printing Branch; Spine Association of Shaanxi Medical Association; Osteopathic Association of Shaanxi Medical Association; Committee of Osteopathic Rehabilitation of Chinese Medical Doctor Association;

Member of Editorial Committee, Journal of Neurorestoratalogy; Journal of China Orthopaedics and Traumatology; Academic Journal of Xi’an Jiaotong University; Chinese Journal of Spine and Spinal Cord；Clinical Research and Practice;