Is Intraoperative Neuromonitoring being adequately utilized in Minimally Invasive Sacroiliac joint fusions?

Name: Dr. Nimesha Cheruku, MBBS, MS, MBA, CNIM.

Affiliation: Neurophysiology, Regional Manager, Advanced Neuro Solutions

Country: USA.

Email id: nimeshareddy@gmail.com

Abstract:

It has been well documented across the years, that Intraoperative neuromonitoring (IONM) is routinely used and helps in preventing nerve injury during minimally invasive (MIS) spinal procedures. The modalities that take priority in these procedures are usually Electromyography (EMG) and Triggered EMG. As MIS surgeries as performed under limited visualization, depending upon fluoroscopic guidance, there is potential risk of the implants being placed improperly and causing nerve injury leading to a potential post op neurologic deficit.

So Why is IONM not being routinely utilized in MIS- SI joint fusions? SI joint fusions have gained popularity in treating low back pain due to SI joint dysfunction. Performing this procedure using the minimally invasive technique provides patients with a true long term and cost-effective solution for SI joint dysfunction.

To perform an effective SI joint fusion procedure, adequate visualization of the sacral foramen is imperative. Various views of the inlet and outlet are required to gain a proper understanding of the anatomy and the trajectory. When visualization is limited, conditions are less than optimal, IONM can be a useful tool to aid in navigation, provide guidance to the surgeon to make an informed decision. The objective is to highlight what modalities of IONM can be useful during the different stages of the implant placement process. What kind of information can they provide to decrease the risk of nerve injury. The usefulness of these modalities has been well documented in spinal fusion procedures and these associations may also apply to SI joint fusions.

Presenter Name: Dr. Nimesha Cheruku

Mode of presentation: Webinar/ Video

Contact number: +1(949) 8707748.

Publications:

- Dr. Nimesha Cheruku. (2021). Outline and Benefits of Multi-Modality Intraoperative Neuromonitoring in Spine Surgery Explained with a Case Report. Neurocosm International Journal, 3(1). Retrieved from https://ojs.technoaretepublication.org/index.php/NIJ/article/view/64

- Cheruku, Nimesha. “Spinal Disease: An Overview.” J Spine 11 (2022): 519.

- Cheruku, Nimesha. “Lateral Lumbar Interbody Fusion and Neuromonitoring: A Concise Report” J Spine 10 (2021): S2.

- Cheruku, Nimesha R. “Spinal Cord Stimulator Procedure with Intraoperative Neuromonitoring Protocol.” J Spine 12 (2023): 605

Biography:

Dr. Nimesha Cheruku is the Regional manager for Intraoperative Neuromonitoring at Advanced NeuroSolutions, whose goal is to provide highest quality monitoring services to all of USA. Her interest in Neurophysiology peaked during her graduate studies. Since then, she has worked in the field of Intraoperative Neuromonitoring, performing IONM studies during surgeries in the OR, interpreting the studies, teaching, writing and finally leading the Department of Intraoperative Neuromonitoring. She has presented at numerous conferences across USA and internationally. She has also published articles related to neuromonitoring.  Dr. Nimesha Cheruku graduated with an additional Masters in Neuroscience from University of Texas at Dallas in 2007, MBA in Hospital and Healthcare Administration from IMSR in 2012. She earned her CNIM (Certification for Intraoperative neuromonitoring) from ABRET shortly after her graduation in 2008 and has been practicing in the field of neurophysiology since.