Evaluation of the Utility of Endovascular Sealing for Aortic Aneurysmal Disease

Augustine MA, Nordon I

Department of Vascular Surgery, Surgical Research Group, Faculty of Medicine, University of Southampton, Southampton General Hospital, Southampton UK

Background: Currently the preferred treatment method for Abdominal Aortic Aneurysm (AAA) is Endovascular Aneurysm Repair (EVAR) due to benefits associated with a minimally invasive procedure over open repair. Limitations of EVAR include limited applicability, higher rates of endoleak and reintervention. A novel technique aiming to overcome these limitations is endovascular sealing (EVAS), using the Nellix device.

Aims: Retrospective service evaluation was performed to:

Evaluate outcomes of all patients treated with EVAS at Southampton General Hospital (SGH).

Explore any difference in outcome between EVAS patients treated within the Nellix instructions for use (IFU) versus those outside it.

Methods: Data including aneurysm morphology and demographics from all patients treated with EVAS at SGH was collected retrospectively from patient records and computed tomography scans. This was utilised for assessment of survival at 30 days and 1 year, and occurrence of aneurysm related complications or reintervention post-EVAS.

Results: 1/26 study patients was female. Mean age and baseline eGFR was 76.9 ± 6 and 62.7 ± 21.4 respectively. 11/26 patients were treated off-IFU. No deaths occurred within 30 days post-operatively. Overall, 5 mortalities occurred by 1 year post-op - none were aneurysm related. 3/5 deaths occurred in patients treated off-IFU. Difference in survival between patients treated within vs off-IFU was not statistically significant (p=0.176; Log-Rank, p=0.260; Generalized Wilcoxon). 3 patients developed aneurysm related complications, however only one reintervention was performed.

Conclusion: Mortality post-EVAS was higher than expected - may be reflective of high risk patients chosen for a novel technique due to unsuitability for other treatment modalities. Endoleak and reintervention rates are low – in line with other centres. Longitudinal studies evaluating long-term outcomes post-EVAS are needed to demonstrate its role in the treatment of AAAs.

Recent Publications relevant to the Nellix Device:

1. Carpenter JP, Cuff R, Buckley C, et al. Clinical research study: One-year pivotal trial outcomes of the Nellix system for endovascular aneurysm sealing. Journal of Vascular Surgery 2017;65:330-36.e4.

2. Böckler D, Holden A, Thompson M, et al. Multicenter Nellix EndoVascular Aneurysm Sealing system experience in aneurysm sac sealing. Journal of Vascular Surgery 2015;62(2):290-98.

3. Carpenter JP, Cuff R, Buckley C, et al. Results of the Nellix system investigational device exemption pivotal trial for endovascular aneurysm sealing. Journal of Vascular Surgery 2016;63(1):23-31.e1.

4. Brownrigg JRW, de Bruin JL, Rossi L, et al. Endovascular Aneurysm Sealing for Infrarenal Abdominal Aortic Aneurysms: 30-Day Outcomes of 105 Patients in a Single Centre. European Journal of Vascular and Endovascular Surgery 2015;50(2):157-64.

5. Karthikesalingam A, Cobb RJ, Khoury A, et al. The morphological applicability of a novel endovascular aneurysm sealing (EVAS) system (Nellix) in patients with abdominal aortic aneurysms. European Journal of Vascular and Endovascular Surgery 2013;46(4):440-45.

Biography: Maclyn Augustine (author) is a 3rd year medical student at the University of Southampton. This abstract is the result of a research project rooted in Vascular Surgery, performed as part of the BMedSc degree undertaken in the 3rd year. He will be working on his MMedSc in the next year.

Mr Ian Nordon, BM MSc MD(Res) FRCS(Gen surg), is a Consultant Vascular Surgeon at Southampton General Hospital, with a sub-specialist interest in Endovascular surgery. Mr Nordon was the supervisor for this project.