Is drug coated balloon angioplasty alone is effective in Iliac artery restenosis

Introduction: The risk of restenosis in the iliac artery is the lowest among any artery in the lower extremity and the optimal treatment of instent restenosis in iliac arteries is not known. The mechanism of iliac restenosis is not dissimilar from restenosis elsewhere in arterial tree, which is inflammatory response leading to neointimal tissue proliferation and tissue ingrowth causing a reduction of lumen diameter.

Objective: Is to prove that drug coated balloon angioplasty alone is effective in iliac artery restenosis in symptomatic patients

Patients and methods: 14 patients admitted to Alexandria armed forces and Alexandria insurance hospitals with symptomatic lower limb ischaemia and prior iliac artery stenting from Jan.1st2016 to July 30th 2017.Duplex examination and ABI of both lower limbs an CT.angiogram and ,percutaneous angioplasty with IN.PAC-admiral(Medtronic) DCB followed by clinical and duplex study at 1,3 and 12 month was done.

Results: Mean age was 55.4+0.3 years, male/female was 6/8 and 9 patients had total iliac stent occlusion. Trans brachial approach was done in 8 occluded stents while ipsilateral femoral approach was successful in 5 patient and contra lateral femoral approach only in one patient. We passed the occluded or stenosed stent in 13 patients 93%, followed by cutting balloon angioplasty in 6 patients 43 %and regular balloon angioplasty in 7 patients 49% and drug coated balloon angioplasty in 13 patients 91%.One patient 7% showed non significant stenosis after 3 month and 2 patients 14% showed significant restenosis after 12 month.

Conclusion: Drug coated balloon angioplasty is safe and effective in iliac artery restenosis in symptomatic patients as a sole procedure without stenting.