Title: Endovascular repair of abdominal aortic aneurysm with the AFX 2 percutaneous endograft. Initial experience in Cuba

Author: Dr. Frank Vázquez Luna

Vascular and Interventional Radiologist

Minimally Invasive Surgery Center. Havana. Cuba

Introduction: Abdominal aortic aneurysm refers to abdominal aortic dilation of 3 cm or greater. Ruptured abdominal aortic aneurysm is a medical emergency and it´s considered to be fatal, therefore opportune treatment is capital. Currently, treatment options include open surgery and endovascular repair. Fist line treatment nowadays is endovascular repair since it´s a minimally invasive procedure, with lower morbidity and mortality rates. Objective: To present our initial experience in Cuba, regarding the introduction of endovascular repair of aortic aneurysm, with the AFX 2 endoprothesis, and to assess the results with the use of the percutaneous closure device Perclose in this series of patients. Methods: From January to April 2018 a series of 6 patients with aortic aneurysm were randomly selected to participate in the study. All patients met the instructions for use of the AFX 2 devices, and agreed to be included in the treatment. All cases were treated in an angiography room, under general anaesthesia. Results: Endovascular treatment with endograft AFX 2 was feasible in all 6 patients, only one minor complication occurred, and all patients were released in 24 to 48 hours post treatment. The percutaneous closing devices were inserted satisfactory. Conclusions: Endovascular repair of abdominal aortic aneurysm with the AFX 2 endograft, and with the Perclose percutaneous closing device is a safe and effective alternative to open surgery, with lower complications and reduced hospital stay.