Microbial identification of bovine milk isolates compared between conventional culture, MALDI-TOF and 16S rRNA

David J. Wilson, Utah State University, USA; John R. Middleton, Pamela R. F. Adkins, University of Missouri, USA; and Gregory M. Goodell; The Dairy Authority, USA

Abstract

The objective of this study was to compare conventional microbial culture, MALDI-TOF (matrix assisted laser desorption ionization - time of flight), and 16S rRNA partial genomic sequencing methods for microbial identification in quarter milk samples from dairy cattle.  The same microbial colonies were tested using each method.  There is no agreed upon “gold standard” for “true positive” microbial identification.  Therefore, this was a study of test agreement, not sensitivity or specificity; the latter calculations require “true” disease status.  All 181 bacterial isolates were tested by culture and MALDI-TOF, and 179 were tested by 16S rRNA because 2 isolates were lost during storage before the latter test was performed.  For Staphylococcus aureus and Escherichia coli, agreement was to the species level, in accordance with conventional culture.  For all other microbes, agreement was defined as to the genus level or to within the group defined as streptococcal-like organisms, in keeping with culture and accepted industry practices.  All samples were mycoplasma-negative.  Overall agreement in identification of microbes between all 3 diagnostic methods was 94% (169/179).  Agreement between MALDI-TOF and 16S rRNA was 98% (176/179); culture agreement with each of the other 2 methods was 95%.  Specific microbes were identified with agreement among all 3 methods ranging from 97% to 100%, all classified “very good” by the Kappa test.  Many members of the dairy industry are used to either bacteriological culture or MALDI-TOF for routine mastitis pathogen diagnosis, and there is interest in the agreement between the methods.  These results suggest that either method is of practical value.  At present 16S rRNA testing is primarily a research tool, but it showed high agreement with the other methods.  For purposes of milk quality and udder health monitoring or study, any of the 3 methods are valuable tools for the dairy industry.

Recent Publications

- Barreiro, J. R., J. L. Gonçalves, P. A. Braga, A. G. Dibbern, M. N. Eberlin, and M. Veiga Dos Santos (2017) Non-culture-based identification of mastitis-causing bacteria by MALDI-TOF mass spectrometry. Journal of Dairy Science 100:2928-2934.

- Dethlefsen L., S. Huse, M. L. Sogin, and D. A. Relman (2008) The pervasive effects of an antibiotic on the human gut microbiota, as revealed by deep 16S rRNA sequencing. PLoS Biology 6 (11):e280.

- El-Sayed, A., W. Awad, N. Abdou, and H. Castañeda Vázquez (2017) Molecular biological tools applied for identification of mastitis causing pathogens. International Journal of Veterinary Science and Medicine 5:89-97.

- Forsman, P., A. Tilsala-Timisjärvi, and T. Alatossava (1997) Identification of staphylococcal and streptococcal causes of bovine mastitis using 16S-23S rRNA spacer regions. Microbiology 143:3491-3500.

- Holt, J. G., P. H. Sneath, and N. R. Krieg (2000) Bergey’s Manual of Determinative Bacteriology, 9th Ed. Lippincott Williams & Wilkins, Philadelphia, PA. 787 pages.

- Rutjes, A. W., J. B. Reitsma, A. Coomarasamy, K. S. Khan, and P. M. Bossuyt (2007) Evaluation of diagnostic tests when there is no gold standard. A review of methods. Health Technology Assessment11:ix-51.

- Tomazi, T., J. L. Goncalves, J. R. Barreiro, P. A. de Campos Braga, L. F. Prada e Silva, M. N. Eberlin, and M. V. dos Santos (2014) Identification of coagulase-negative staphylococci from bovine intramammary infection by matrix-assisted laser desorption ionization time of flight mass spectrometry. Journal of Clinical Microbiology 52:1658–1663.