Treatment of Detergent Industries Wastewater

Ali Rostami Iranagh1 Elnaz Z Lotfi2

1 Phd student  (University of Azarbaijan Shaid Madani, Iran)

Phd student  (University of Azarbaijan Shaid Madani, Iran)

Abstract

Surfactants are the most important gradients in detergent products. Environmental pollution can be caused due to the use of alkyl benzene sulfonate, if the wastewater is not treated. For this reason, chemical and physical methods of treatment should be employed. In this work wastewater treatment of one of the detergent industries in Iran containing   surfactants are considered and treatment with use of chemical, physical and biological methods has been compared. In the chemical method, the best coagulant were, lime with alum which caused a 90% reduction of COD. Dissolved Air Flotation (DAF) as a physical procedure was employed and which 8.26% reduction of COD occurred. Biological method was based on the use of Sequencing Batch Reactor (SBR) which led to an 86% reduction of COD. Effluent water after treatment can be used for agricultural, landscape irrigation and garden watering.

Keywords: Industrial, Pollution, Surfactants, Treatment

Professional Biography (100-150 words)

Ali rostami is a  PhD student in Azarbaijan shahid madani University in Iran. He is a quality control Expert in rurual water and wastewater company. He hasparticipated in  more than 27 papers in  international & national conferrences.he has Previous Job Experience over the last 15 Years as: 1.Tehran , Pakshoo Chemical Company,21 APR. 2001 to 20 JUL. 2001,Student Research in Sharif  University of Technology . Research about Treatment & Reuse of  Detergent Industrial Wastewater. 2. Tehran, Department of Environment, water, Soil & Water section, Work as a Water Resource Quality Expert, from 30 APR. 2002 to 27 DEC. 2002.

3. Tabriz, Machine Sazi , Technical Section, Work as a Design Engineer, 28 Dec. 2002 to 19 Mar. 2007. 4.rurual water and wastewater company as quality control expert.

Email Id: alirostamiiranagh@yahoo.com

Any Comments: