# Abstract Template

# Abstract Title: The novel acoustic detection devices of coronary artery stenosis and new handy markers of coronary artery disease

# Artemio Garcia-Escobar1 ORCID ID https://orcid.org/0000-0002-6786-3498, Juan Manuel Grande-Ingelmo1, Fernando Cabestero1.

# 1Cardiology Service, Hospital Universitario Severo Ochoa, Leganes, Madrid, Spain.

# Abstract:

The guidelines say that patients with chest pain of intermediate probability for CAD need a noninvasive test as the first approach. The noninvasive test probably less expensive is the exercise electrocardiography (ECG) although with a low sensitivity (45-50%), even though there are non-invasive tests with higher sensitivity like the stress echocardiogram, coronary computed tomography angiography, nuclear stress test and so on, they had high cost and some of them require exposure to radiation. Akay and others authors found the range of frequency hertz associated with CAD and this acoustic signals are not audible to human ear with the standard stethoscope. Currently, there are acoustic detection devices for diagnosing CAD in the market approved by the Conformite Europeenne (CE) Marking and the Food and Drug Administration (FDA). These novel ADDs can rule out CAD with a high negative predictive value (NPV) 91-96% but not good enough specificity 35-52%. New markers to diagnose CAD has come out, the Casablanca study four biomarkers (midkine, adiponectin, apo C-1, and kidney injury molecule-1) predicted CAD with high positive predictive value (PPV) 90% and also showed that patients without myocardial infarction that had high sensitive cardiac troponin I (hs-cTn) ≥ 6 ng/L had a PPV 72% to diagnose CAD. A novel ECG sign so-called fragmented QRS have a specificity 89% to diagnose myocardial scar. The mean platelet volume (MPV) is a parameter included in the routine blood test; high MPV has a specificity 75% in patients with chest pain to diagnose the acute coronary syndrome. Hence if to the evaluation of patients with low and intermediate probability of CAD we use the ADDs with these new markers of CAD, some non-invasive tests can be avoided, as well as better cost-effective decisions to referring a patient directly to coronary angiography could be taken.

# Keywords: Acoustic detection of coronary artery disease, fragmented QRS, mean platelet volume, new markers to diagnose coronary artery disease.

# Professional Biography:

EDUCATION: Autonomous University of Guadalajara (2004).

MEDICAL EXPERIENCE: One year of Internship at Hospital Angeles of Carmen in Guadalajara (2008). One year of research at National Medical Center of the West in Guadalajara (2009). One year of Internal Medicine residency at ABC Medical Center in Mexico City (2011). One year of Internal Medicine residency at Gregorio Marañon Hospital in Madrid (2012). Five year of Cardiology residency at Severo Ochoa Hospital in Madrid (2014).

CERTIFICATIONS: European Society of Cardiology, Acute Cardiovascular Care Association certification since October 2018.

TEACHING EXPERIENCE: Exam evaluator in school of Medicine at Alfonso X el Sabio University.

PUBLICATIONS AND PRESENTATIONS:

-Letter by Garcia A, et al. Regarding article The clinical evaluation of the CADence device in the acoustic detection of coronary artery disease. Int J Cardiovasc Imaging. 2018 Nov 9. PMID: 30413909.

-Three posters presented in congress.

EDITOR: Currently Editorial Board Member of the RAFT-Journal of Case Reports and Images since 2018.

LICENSURE: Licensed physician in Madrid by the Ilustre Colegio de Médicos de Madrid.

Email Id: dr_garciaescobar@hotmail.com