# Validated method for Determination of total amino acids in rice using  reversed-phase high performance liquid chromatography (RP-HPLC)

G V V Liyanaarachchi1, K R R Mahanama2, H P P S Somasiri1 and P A N Punyasiri2

1 Industrial Technology Institute, Sri Lanka

2 University of Colombo, Sri Lanka

### Abstract

The validation results of a method carried out for analysis of total amino acids (TAAs) in rice using high-performance liquid chromatography-diode array (HPLC-DAD) detection with o-phthalaldehyde (OPA) and Fluorenylmethyloxycarbonyl chloride (FMOC-Cl) reagents is presented.

The validated method exhibited excellent selectivity allowing separation with resolution values (Rs) greater than 2 for seventeen amino acids in a single run. Based on the analysis performed on the certified reference material (CRM): NIST 3233 on breakfast cereals, the method was found accurate for all the studied amino acids. The recoveries were found acceptable with values in the range 85 % - 100 % and with precision expressed as percentage relative standard deviation (% RSD) below 6 % for all the studied amino acids. Limit of detection (LOD) and limit of quantification (LOQ) values were 0.024 – 0.069 g/100g and 0.025 – 0.078 g/100g respectively. Method also had a wide working range with satisfactory linearity obtained over six calibration levels having regression coefficients greater than 0.999 for each individual amino acid.

In compliance with the international method validation guideline requirements, the validated method is accurate and reproducible allowing successful application of the method for determination of seventeen TAAs found in rice.

Recent Publications

Liyanaarachchi GVV, Mahanama KRR, Somasiri HPPS, Punyasiri PAN, (2018) Development and validation of a method for direct, underivatized analysis of free amino acids in rice using liquid chromatography–tandem mass spectrometry. Journal of Chromatography A, 1568.

Liyanaarachchi GVV, Mahanama KRR, Somasiri HPPS, Punyasiri PAN (2018) Validation of a reversed-phase high-performance liquid chromatographic method for the determination of free amino acids in rice using L-Theanine as the internal standard. Food Chemistry, 240, 196–203.

Liyanaarachchi GVV, Mahanama KRR, Somasiri HPPS, Punyasiri PAN, Validation of a tandem mass spectrometric method for direct analysis of free amino acids in rice, Proceedings of the World Congress on Mass Spectrometry and Analytical Techniques held in 20th-21st August in Singapore, 2018. Journal of Analytical & Bioanalytical Techniques. DOI: 10.4172/2155-9872-C2-030.

Liyanaarachchi GVV, Mahanama KRR, Somasiri HPPS, Punyasiri PAN on (2017) “Variation of free amino acid profile among selected traditional rice varieties (Oryza sativa L.) in Sri Lanka”, Proceedings of the Annual Research Symposium of University of Colombo.

Liyanaarachchi, G.V.V., Mahanama, K.R.R., Somasiri, H.P.P.S., Punyasiri, PAN (2017) on “Variation of free amino acid profile among selected traditional rice varieties (Oryza sativa L.) in Sri Lanka cultivated during 2016 Maha season”, Proceedings of the Biennial Research Symposium of Industrial Technology Institute,Sri Lanka.

5.

Biography

G V V Liyanaarachchi is reading for her PhD in Analytical Chemistry from the University of Colombo in Sri Lanka. She serves as an assessor, trainer and as a technical expert for several national committees and organizations. She has over 15 publications/ communications published in reputed journals and currently serves as the Deputy Technical Manager at the Residue Analysis Laboratory of Industrial Technology Institute (ITI) of Sri Lanka.

Phone:+94714433293

Email: vimarshi@iti.lk

Abstract type: Poster presentation

Session name/Track: Method Development and Validation