Controlled Antibiotic-loaded, Drug-Eluting Implants for Osteomyelitis

Dan Li1, 2, Yaoyi Huang2, Hong Shen2, Yunlong Ma2, Decheng Wu2, Yuanzheng Ma2

1 Northwestern University, Chicago, Illinois
2 309th Hospital of the PLA, Beijing, China

Bone infections are disastrous complications associated with orthopaedic implants such as prosthetic joints and fracture fixation devices. Local inflammation results osteolysis and destruction of the surrounding soft tissues. Management of such infections remains a significant challenge to clinicians, especially given the global rising prevalence of total joint arthroplasty. Current treatment regimens involve surgical debridement along with a prolonged course of antibiotics, which lacks bacterial and risks systematic toxicity to the patient. The efficacy of localized drug delivery, such as antibiotic-infused bone cement, is limited due to having only an initial burst release effect without a controlled, sustainable release profile. The ability to load antibiotics within a hydrogel scaffold to act as a drug delivery mechanism demonstrates promise in addressing this issue.  In this letter we describe the fabrication of a vancomycin-loaded, polyethylene glycol (PEG) based hydrogel film covalently attached to titanium implant surfaces. Alginate microspheres were incorporated into the hydrogel to better control the rate of drug release. Specifically, this attenuates the initial burst release and delivers the drug at a more uniform rate by inhibiting hydrogel swelling. The resulting implants proved to be biocompatible and demonstrated minimal burst release, offering a consistent rate of drug elution for approximately 4 weeks in vitro. The rate of drug release could also be controlled by adjusting the amount of vancomycin loaded and hydrogel thickness. Material analysis characterized vancomycin dispersion kinematics as a function of the fabrication process. Antibiotic-loaded hydrogel coatings for titanium implants offers a unique drug delivery mechanism that maintains a sustained rate of drug release. In vivo studies are necessary to determine biodegradative properties of the material, and the extent of antimicrobial activity against targeted organisms.

Publications:

Turin SY, Li D, Fine NA, Vaca E. “Nitroglycerin Ointment for Reducing the Rate of Mastectomy Flap Necrosis in Immediate Implant Based Breast Reconstruction.” Plastic and Reconstructive Surgery, June 2018, E-published ahead of print.

Butler BA, Fitz DW, Lawton CD, Li D, Balderama ES, Stover, MD. “Early Diagnosis of Septic Arthritis in Immunocompromised Patients.” Journal of Orthopaedic Science, vol. 23, no. 2, 5 Mar. 2018

Li D, Pengfei L, Linfeng F, Huang Y, Yang F, Mei X, Wu D. “The Immobilization of Antibiotic-Loaded Polymeric Coatings on Osteoarticular Ti Implants for the Prevention of Bone Infections.” Biomaterials Science, vol. 5, no. 11, 2017, pp. 2337–2346.

Li D, Li L, Ma Y, Zhuang Y, Li D, Shen H, Wang X, Yang F, Ma Y, Wu D. “Dopamine-Assisted Fixation of Drug-Loaded Polymeric Multilayers to Osteoarticular Implants for Tuberculosis Therapy.” Biomaterials Science, vol. 5, no. 4, 2017, pp. 730–740.

Kuiken TA, Bennet BA, Sharkey T, Ivy AD, Li D, Peabody TD. “Novel Intramedullary Device for Lengthening Transfemoral Residual Limbs.” Journal of Orthopaedic Surgery and Research, vol. 12, no. 1, 2017

Fu S, Rossero J, Chen C, Alzgheir R, Li D, Takoudis, C. “On the Wetting Behavior of Ceria Thin Films Grown by Pulsed Laser Deposition.” Applied Physics Letters, vol. 110, no. 8, 2017

Daniel (Dan) Li has participated in a wide variety of both basic and clinical research regarding biomaterials in the context of orthopaedic applications, such as the use of hydrogels as a novel drug-eluting mechanism to combat osteomyelitis and tuberculosis infection. He has spent significant time overseas with the orthopaedics department at the 309th Hospital of the PLA in Beijing, China, working under the team of Dr. Yuanzheng Ma, as well as completing his undergraduate degree in Materials Science and Engineering at the University of Illinois. There, he conducted research under the John Rogers Research Group investigating novel biodegradable electronics. Currently, he is performing clinical outcomes research at Northwestern University regarding the evaluation of prosthetic joint infection.

Daniel.li1@northwestern.edu

630-917-5096

Poster Presentation