Application and Comparison of Analytical Hierarchy Process (AHP) and Network Methods in Routing of Pipeline Water Transmission System, from Taleghan Dam to Hashtgerd New City, Tehran, Iran

Abstract:

Determination of optimal path by considering technical and engineering, environment and cost management visions. In this point of view from Taleghans dam to Hashtgerd New City case study we need to distinguish and apply the essential parameters such as topographic and morphologic conditions, environmental issues by consideration on sustainable development, population distribution patterns, roads and etc. by using base map and extraction of expected points geometrical location from                   Google Earth, position land surveying done. Then the mentioned co-parameters data layer loaded in GIS environment and after allocation the special coefficient and value for weighting parameters and combine them based on Multi Criteria Evaluation method and the cost map made based on Analytical Hierarchy process method which Lead to determination optimal path by using Least Cost Path Algorithm method. proving Paths include of ABFA path and two evaluated optimum path compared and indicated that two optimum paths overlapped mostly. Cost comparison between optimum path and ABFA path show 14% decrease in expenditure. Which the main extra expense of ABFA path because of more intersection with rivers and roads and necessity construct of bridge to keep water natural regimes, passing unauthorized areas and personal parcels need to pay and routing only by personal experience ignoring academic science, data analyzing softwares which couse to increasing the length of water supply pipeline.

Keywords: Weighting, Water pipeline, Taleghan dam, Hashtgerd New City, Analytical Hierarchy process, Optimal routing