Speciation of Zinc Concentration in Human Blood Serum by Spectophotometric Methods

# Hussain HasanKharnoob

Unversity of Tikrit,College of Pharamacy, Tikrit, Iraq

# Abstract

Background:speciation of zinc means the determination of the concentration of  chemical formula of zinc species which is more indicated than total concentration of zinc for clinical diagnosis. It was shown that atomic absortion spectrometry is good technique for measuring of total concentration of zinc after digestion of the serum with concentrated nitric acid and concentrated perchloric acid ,while ionic concentration of zinc was determined by visible spectrometry.

Study design and objective :this study was conducted control healthy people from the workers in Tikrit teaching hospital,gendar (10male + 10 female) and their ages are between (35-70(years.This study aimes to find relation between the concentration of bound zinc in human blood serum  and ischemaic heart disease.

Methods: bloods samples were collected from clincilay suspected patients who attend teaching hospital in salah-aldin governate with sign and symtoms of ischemic heart disease(proven by specialist physician).Blood samples were centrifugated and serum was separated to examine for speciation of zinc  concentration

Results: the zinc was determined by two analytical methods. The first method is visible spectrophotometry,the absorbance was measured at wavelength 578 nm and the zinc label as ionic zinc. The second method is atomic absorption spectrophotometrymetry, the absorbance was measurd at wavelength213 nm and the zinc label as total zinc.The bound zinc was mathmetical calculated, which is higher in patients than control groups

Conclusion:according to the study data, it was concluded that the level of total zinc higher than ionic zinc in control and patient, and the  levels of ionic and total zinc in patient groups are lower than their levels in control groups

# List of abbreviation

# FAAS: Flame  Atomic Absorption Spectrometry

# GFAAS: Graphite Furnace Atomic Absorption Spectrometry

# Keywords:Spectrophotometer,Atomic,Bound,Concentration,Total,Ionic.

# الخلاصه

1

مقدمة:  speciation يعنى قياس تركيز الصيغة الكيمياوية  للزنك المرتبط   الذي له اكثر دلالة تشخيصية سريريه من قياس تركيز الزنك الكلي.طريقة قياس الزنك المرتبط تحسب بعد قياس التركيز الكلي بأستخدام طريقةالمطياف الذري وهي طريقة جيدة  بعد هظم النموذج بحامض النتريك المركز وحامض البيروكلوريك المركز وطرح منه  التركيز الايوني المقاس بطريقة الطيف المرئي.

نوع الدراسةوالهدف منها :تم تطبيق هذه الدراسة على (10) اشخاص اصحاء ومن العاملين في مستشفى تكريت التعليمي وهم (5)رجال و(5)نساء وكذلك على(50)شخص مرضى (29)رجال  و(21)  نساء ومن الراقدين في نفس المستشفى ضمن محافظة صلاح الدين وتتراح اعمارهم مابين(35-70) سنة والهدف من هذه الدراسة ايجاد علاقة وثيقة بين تركيز الزنك المرتبط والامراض القلبية

طريقةاجراءالدراسة : جمعت عينات الدم من المرضى الراقدين في  المستشفى   التعليمي والمشخصين باصابتهم بالامراض القلبية من قبل الاطباء الاختصاصيين وقد وضعت عينات الدم في جهاز الطرد المركزي للحصول على مصل الدم الذي  تقاس فيه تراكيز الزنك الكلي والايوني والمرتبط .

النتائج :تم تقدير الزنك    باستخدام   تقنيتين تحليليتين ألاولى الطيف المرئي وقد تم قياس الامتصاص عند الطول الموجي 578 نانوميتر وقد أشر بالزنك الآيوني والثانية طريقة الامتصاص الذري  وقد تم قياس  الامتصاص عند الطول الموجي 213 نانوميتر وقد أشر بالزنك الكلي وقد تم حساب تقدير الزنك المرتبط حسابيا وهو أعلى في مجموعة المرضى  من مجموعة السيطرة .

الأستنتاج:توصلت هذه الدراسة الى مستوى الزنك الكلي   في مصل الدم البشري أعلى من مستوى الزنك الأيوني لدى مجموعة السيطره والمرضى وكذلك مستوى الزنك الكلي والأيوني لدى المرضى أقل من مستواه لدى مجموعة المرضى.

# Introduction:

2

Zinc assoiciated with many enzyme systems such as metallo-enzyme and enzyme activator (1). Zinc and copper were determined in human blood for medical diagnosis (2). In clinical analysis, the total concentration of zinc and copper in serum are generally use for medical diagnosis of health and disease (3). However, the biological activities or toxicities of zinc depend on their chemical forms in blood serum and thus data for their total concentration are not sufficient for medical diagnosis,therefore speciation of analyses of zinc species in humen blood serum  now receiving great interest not only in medical diagnosis, but also in biological and environmental science (4). During the last twenty years ago, it has been an increasing interest in environmental concentration by zinc due to it,s trace concentration is essential for maintance for normal growth and development,while it,s high concentration is toxic(5).Zinc plays an important physiological role in human blood distributed 75-85% in erythrocytes (mostly as carbonic anhydrase),12-22% in plasma and 3% in leukocytes(6).One third of of zinc in plasma is loosely bound to the serum albumin,the reminder being more firmly attached to α-globulins and with minor fractions complexed in histidine and cysteine(7).In clinical analysis,the total concentration of zinc in serum is generally used as convenient parameters  for medical diagnosis of health and diseas(8).However, the biological activity or toxicities of trace element strongly depend on their chemical forms in blood serum,and thus data for their total concentrations  are not  sufficient  for      medical       diagnosis(9). Therefore,speciation analyses of zinc species in human blood serum  are now receiving great interst not only in medical diagnosis,but also in biological and environmental sciences(10). Various techniques such as sucrose density gradient centrifugation ,polyethylene glycol precipitation , electrophoresis ,chromatography  and ultafiltration have been employed for the separation of zinc binding species in   serum(11).Spectrophotometric metods for determination of zin was found to be more sensitive and selective, they offer advantages such as reliability and reproducibility in addition to its simpilicty and less interference(12). Zinc reacts with benzildithiosemicarbazone to form yellow colour compound(1:1) which  has been paid for spectrophotometric determination of zinc in human  serum.Visibles pectrophotometer technique is one of the most powerful tools in chemical analysis.Zinic ion reacts with chromophere to produce colour complex. The intensity of colour is directly proportional to the concentration of zinc present in serum (13).  The literature reviewed

3

very sensitive, highly specific spectrophometric methods  for trace determination of zinc. The method possesses distinct advantages over exiting method with respect to sensitivity, selectivity range of determination, simplicity, speed, pH, accuracy, precision, and ease of operation. AAS technique was used by many workers(14) to measure the total concentration of toxic heavy metals such as As, Cu, Cd, Mn, Pb, Se and Zn in human blood serum       and urine(15). Ingeneral  GFAA    more  sensitive than  FAAS for determination of zinc level in serum

The AAS technique is based on conversion of ionic zinc to atomic zinc by flame or furnace, the light absorbed from hallaw cathode lamp of zinc is directly proportional to the concentration of zinc present in sample(16)

# Material and method

A shimadzu (Kyoto, Japan) (Model-160) double beam Uv/Visible spectrophotometer was used of measurement of ionic zinc concentration. Py-Unicam (England) atomic absorption  spectrphotometer was used for measurement of total zinc concentration.

Blood samples were collected from control groups (5male+5female) and patients(29male+21female)with range ages (35-70)years  who admitted to Tikrit teaching hospital proven by specialist physician suffering from IHD. The blood after with drawning using disposable syringe was put in disposable plain tubes, the serum was separated by centrifuge at 400 rpm for at least 30 minutes, the serum was stored at 2-4 oC until the analysis for ionic and total Zinc.

Procedure for Determination of Ionic Zinc concentration

All of the chemicals used were  analytical reagent grade  unless otherwise stated. Bio Systems kit was used for determination of ionic Zinc in serum which contains buffer solution pH=8.2,  analytical reagent  grade (Benzildithiosmicarbazone) andstandarad solution of zinc (2µg/ml ). 1,3,4,5 and 6 mls were taken from the above standarad solution and put  each in 10 ml volumetric flask, then diluted to the mark with double distilled water to get the concentration  0.2, 0.6, 0.8, 1.0 and 1.2µg /ml respectively  . The same procedure was used as repoted  by Nagarjuna Reddy.D and others(17)for determination of ionic zinc in serum. The colourimetric reagent was mixed with the buffer solution and stored for two weeks at 2-8 oC and labelled as working reagent. (50)µl of each standard solution was added to (1) ml of working reagent, mixed and leave for 5 minutes, the absorbance was read at 578 nm and the colour stable at least 30 minutes. The percentage of recovery for spectrophotometric method was calculated  showing in  Table(1).(50)µl  from the serum of each patient and control was added to 1ml of working reagent, shaking the solution and leave for 5 minutes then absorbance was measured at the same minor of preparation of standarad curve of zinc by spectrophotometry , the mean of reading was recorded and fitted to calibration curve to determine concentration of  ionic zinc in sampleTable( 2)

Procedure for determination of Total Zinc Concentration

A 100 ml amount of stock solution of zinc (1000  µg/ml) was prepared  by dissolving(440)mg of zinc sulphate heptahydrate(ZnSO47H2O)  was dissolved in (100) ml of double distilled water ,then( 1)ml  from the standarad solution  diluted to 100ml in volumetric flask to get (100) µg/ml, then 2,6,10,12 and 14 ml were taken and put in each in 100 ml volumetric flask,then diluted to mark with double distilled water to get the concentration ranges 0.2, 0.6, 1.0, 1.2 and  1.4    µg  /ml respectively .

Standarad solutions were aspirated directly to the flame of atomic absorption technique (mixture of air-acetylene), the absorbance was read at 213nm for each concentration of zinc. One drop of Conc HNO3 was added to 1ml of serum of patient and control, then 3 drops of conc. Perchloric acid, heat at 50-60 oC and aspirate the sample to flame AAs in the same minor for calibration curve of zinc by AAS, the absorbance was read and fitted to calibration curve to determind total zinc in sample. The results obtained are listed in Table 4)

4

Results. The accuracy and the precision of the method of analysis are illustrated in Table(1). Of the (50)  blood samples from the clinically suspected patients included in this study(29 males and 21 female) show that the mean concentration of ionic zinc 451.45 µg  /ml  comparing with it,s concentration 628     µg  /ml   in  control groups(Table-2-)

# Table(1) Accuracy and precision of Visible Spectrophotometer

| Zn added | Zn found | % Recovery | % RSD |
| --- | --- | --- | --- |
| 0.33 | 0.32 | 96 | 2.8 |
| 0.42 | 0.42 | 95 | 3.2 |
| 0.60 | 0.61 | 101 | 2.0 |
| 0.85 | 0.82 | 98 | 1.8 |
| 1.0 | 0.95 | 95 | 2.0 |

Table(2) :Concentration of Ionic zinc (µg/ml) in Sera of Control and Patients

| Countrol | Concentration and Patients Numbers |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 600(1) | 630(2) | 670(3) | 620(4) | 670(5) |
|  | 610(6) | 690(7) | 610(8) | 630(9) | 640(10) |
|  | 600(11) | 620(12) | 690(13) | 630(14) | 620(15) |
|  | 620(16) | 630(17) | 610(18) | 680(19) | 600(20) |
| Mean | 628 |  |  |  |  |
| RSD | 6.68% |  |  |  |  |
| Patients. |  |  |  |  |  |
|  | 410(1) | 430(2) | 470(3) | 423(4) | 435(5) |
|  | 464(6) | 450(7) | 500(8) | 422(9) | 458(10) |
|  | 473(11) | 468(12) | 489(13) | 422(14) | 470(15) |
|  | 466(16) | 481(17) | 410(18) | 416(19) | 450(20) |
|  | 350(21) | 480(22) | 470(23) | 488(24) | 458(25) |
|  | 496(26) | 430(27) | 383(28) | 457(29) | 427(30) |
|  | 448(31) | 470(32) | 470(33) | 416(34) | 438(35) |
|  | 419(36) | 479(37) | 437(38) | 412(39) | 497(40) |
|  | 488(41) | 496(42) | 470(43) | 430(44) | 490(45) |
|  | 470(46) | 410(47) | 429(48) | 429(49) | 456(50) |
| Mean | 451 |  |  |  |  |
| RSD | 7.98% |  |  |  |  |

5

The accuracy and the precision of the method of analysis illustrated in Table(3).  The mean concentration of total  zinc 527.2   µg  /ml  comparing with its concentration 658      µg  /ml  in control groups (Table(4) . The bound zinc concentration in control and patient groups was calculated 29.5µg/ml and75.74µg/ml  respectively which described in Table(5).The results in Table(6) shows the variation in the concentration of total,ionic and bound zinc according to the ages and illustrated histogrameticaly in Figure(1)

# Table (3):- Accuracy  and Precision of AAS

| Zn added | Zn found | % Recovery | % RSD |
| --- | --- | --- | --- |
| 0.33 | 0.32 | 103 | 4.0 |
| 0.42 | 0.44 | 104 | 3.8 |
| 0.60 | 0.62 | 103 | 3.6 |
| 0.85 | 0.89 | 104 | 4.0 |
| 1.0 | 1.10 | 110 | 4.2 |

Table (4):- Concentration of Total zinc (µg/ml) in Sera of Control and Patients

| Control. | Concentration and Patients Numbers |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 660(1) | 650(2) | 700(3) | 704(4) | 700(5) |
|  | 640(6) | 630(7) | 640(8) | 650(9) | 680(10) |
|  | 620(11) | 640(12) | 630(13) | 630(14) | 650(15) |
|  | 660(16) | 650(17) | 630(18) | 620(19) | 630(20) |
| Mean | 658 |  |  |  |  |
| RSD | 4.82% |  |  |  |  |
| Patients. |  |  |  |  |  |
|  | 427(1) | 446(2) | 432(3) | 482(4) | 450(5) |
|  | 461(6) | 446(7) | 420(8) | 438(9) | 426(10) |
|  | 495(11) | 478(12) | 423(13) | 464(14) | 412(15) |
|  | 401(16) | 458(17) | 498(18) | 422(19) | 450(20) |
|  | 467(21) | 460(22) | 455(23) | 410(24) | 458(25) |
|  | 496(26) | 402(27) | 488(28) | 498(29) | 427(30) |
|  | 476(31) | 464(32) | 490(33) | 444(34) | 438(35) |
|  | 428(36) | 426(37) | 474(38) | 460(39) | 410(40) |
|  | 478(41) | 460(42) | 498(43) | 456(44) | 442(45) |
|  | 412(46) | 468(47) | 424(48) | 474(49) | 478(50) |
| Mean | 451 |  |  |  |  |
| RSD | 7.98% |  |  |  |  |

6

# Table(5) Spciation of  Zinc in Serum of Patients

| Patients(n=50) | Control (n=20) | Species of Zinc | Method of Analysis |
| --- | --- | --- | --- |
| 451.45 (85.60%) | 628.5(95.53%) | Ionic | Visible Spectrophotometer |
| 527.2 (99.9%) | 658 (100%) | Total | Atomic Absorption Spectrophotometr |
| 75.74 (14.35%) | 29.50(4.47%) | Bound | Mathmetical Calculation |

# Table (6):-Speciation of Zinc(µg/ml) species in serum of patient group

| Age group(year) | Total conc. Of Zinc | Ionic Zinc | Percentage of ionic Zinc% | Bonded Zinc | Percentage of bonded Zinc% |
| --- | --- | --- | --- | --- | --- |
| Control | 658 | 628.5 | 95.53 | 29.5 | 4.47 |
| Patients |  |  |  |  |  |
| 28-35 | 511.16 | 438.73 | 86.15 | 72.43 | 13.91 |
| 35-45 | 523.06 | 439.23 | 84.26 | 83.83 | 15.74 |
| 45-50 | 502.76 | 421.6 | 83.47 | 81.16 | 14.45 |
| 50-70 | 557.5 | 484.42 | 86.52 | 73.07 | 14.48 |

control

50-70

45-50

28-35    35-45

Co

# Figure(1) Histogram of Zinc Speciation in terms of Ages

7

Discussion

Inagaki .k and others(18) were determined the total concentration of zinc in blood serum sample using inductive couple plasma with mass spectrometry as detector after the serum sample was digested with concentrated nitric acid. In this work concentrated nitric and concentrated perchloric acid were used for digestion of serum sample to ensure that all zinc is relased from serum sample matrix,then determined by flame AAS which is less risk of contamination.

Ionic zinc concentration such as zinc loosely and firmly bind zinc in blood serum sample can removed by chelating resin batch treatment(19).In this resarch zinc ion reacted with bezildthiosemicarbazone to form yellow complex(M:L), then zinc ion concentration was determined by visible spectrophotometer which indicate that albumin-zinc and α2-macroglobulin were determind by visible spectrophotometer.The analytical results are summarized in Table( 1 ) which shows good accuracy(recovery 95-101%) and precision( standarad devation 2.0-3.2) and acceptable regression line obtained. As seen in Table ( 2 )  that  ionic zinc in control is  higher than its concentration  in patient groups, this indicates  that  ischemic hrart disease   effects on the concentration of ionic zinc which agree with other workers(19).The analytical parameters for determination of total zinc showing in Table(3) is good enough(recovery103-110%) and standarad devation 3.6-4.2)  to use for the the determination using regression line obtained  .The results in Table(4) and are illustrated that the concentration of total zinc  in control is higher than it,s concentration in patient groups, again the  concentration  of total zinc effects by IHD. Good agreement between the distribution of total, loosely and firmly bound zinc in serum obtained by present method which are summarized in Table(5)  with those obtained by other method(20) .The speciation of ionic zinc85.6%,bound zinc 14.3% and total zinc 99.9% in patient groups suffering from IHD , while it,s speciation in control groups ionic zinc 95.5%,bound zinc 4,4% and total zinc99.9%

In the present speciation analysis method involving determination of zinc bound to α2- macroglobulin and zinc-albumin by visible  spectrophotometric  which are loosely and firmly bound zinc in human blood serum.The bound zinc which is strong binding between zinc and amino acid obtained by substraction of ionic concentration from total zinc. The concentration of bound zinc is very usefuel for clinical analysis and medical diagnosis(21).

8

It has been observed  in this study that the concentration of bound zinc in patient groups 75.74 µg/ml (14.35%) higher than it,s concentration in control groups 29.5 µg/ml (4.47%) .

The results in Table(6) show  significant difference between control and patient group but no differences between them interms  of the range of ages, the present results agree with  results obtained by Lynch and others(22).

# Conclusions:

The results of this work  were concluded that the concentration of total zinc in human blood serum  is not  good indicator for diagnosis of ischemic heart disease, the concentration of bound  zinc is  good index for diagnostic of ischemic heart disease.

# Recommendation:

Futher studies with large control and patient groups  involving larger areas are recommended to predict the exat relation between bound zinc concentration and IHD.Gelfiteration, electrophoresis techniques are recommended to use  for  determination exactly the concentration of bound zinc with protein.Copper  ion should be addeded for the future studies due to the competition between copper and zinc toward protein.

# Referecnce:

- BL Vallec and Falchuk K.H.(1993)The biochemical of Zinc Physiology.Phsiol Rev. 73:79

- Shopsis C.J.(1994).Clincal and Nutritional Aspect of Zinc Deficiency.Biol.Toxicol 10:191

- Banjit B. and Sudaran A.(2009).Meatabolism of Trace Element in HumanDiseas..Arch. of.Applied Research 1: 74.

- Aboud Al-Hassan. A. N. and Mohammed B. Y.(2013).Zinc Level in Warts. Iraq. J. pharm, 1: 1.

- Schwartz, W.K.(2004).Zinc Level in Chronic leucamia.Resarch  Cancer .35:3781.

9

Hanna E. B. and Tohala M. L.(2011).Speciation of zinc in Surface Water. .  J. Sci, 22: 51.

- Abul H-Z. and Bashir M.B.(2002).Zinc Level in Serum of Myocardial Infraction Patient. Saudi Med. J. 23:539.

- Hussain F. M. and Sheikh H.N. J.(2009).Metabolism   of          Zin.                                          J. of Medical Science, 8: 109.

- Kazumi I. and Naoko M.(2000).Quntative Determination of Zinc in Enviroment.                             . Analyst  125: 197.

- Tazul M. and Jamaluddin A. J.(2013).Determination of Heavy Metals by Atomic Absorption Spectrophotometry. Anal.Environ. Chem. 14: 10.

- Ahmed M. J. and Haque E.(2002).Determination of Trace Element in Human Health and Nutrition. .Analytical Science 18: 433 .

- Aisher G.L.(2004).Speciation of Zinc in Soil.Sci-Total Environ. 34 :373 .

- TasilerJ.MandNickless G.   (2004).Determination of Zinc in Serum.Arch of En. Health.59: 12.

- Shames L.R and King J. C.(2000).Determination of zinc in Food.                          J. Nutr.  130: 136.

- Mudallal S. A and Hadithi, R.(2004). Clincal and Nutritional Aspect of Zinc.   Iraqi. J. Med. Sci. 3:1.

- Patrick C.D and Lamberts A.O.(2001).Diagnostic Approach to the Trace Element Deficiency. Clin Chem. 38: 243

- Nagarjuna Reddy D., Vasudeva Reddy K. and Hussain Reddy K.(2011).SlectiveSpectrometryfor Determination of Zinc .J.Chem.Pharm.Res.3(3):205.

- Ingaki K.,Mikuriya N. and Moritia S.(2000).Speciation of protein-binding zinc and copper in human blood Serum Analyst.125:197-203.

- IslamM.andAhmedM.J.(2013)SpectrophotometricMethod for Determination of zinc in serum.

Pak.J.Anal.Environ.Chem14:1

- Hassan M.H.(2015) Determination of zinc in Serum.M.Sc.Thesis,TikritUniversity, Pharmacy College. 98

- Kharnoo H.H. Ali M.AndAhmed. A.(2015).QuantativeMetods for Determination of Metal in Serum.

Tikrit.J.for.pharm.Science15:42

- Lynch M.F. and Haque E.(2002). Determination of Zinc in Human Blood Serum. Analytical Science. 18:4.

10