Abstract

Bisphosphonates (BPs) are well-known sub-

stances with very efficient antiresorptive properties. Their

beneficial actions are useful not only in achieving better

bone mineral density but also in improving bone microar-

chitecture, strength and, consequently, its quality. Surgical

cement, being a polymer composite, is required to be

highly biocompatible and biotolerant. The goal of the

presented study was to assess whether the enrichment of

cement with pamidronate has changed its biomechanical

properties. We compared the biomechanical parameters of

clean bone cement and BP-enriched bone cement, which

were both used formerly in our rat models. Biomechanical

properties of BP-enriched bone cement are defined by two

basic terms: stress and strain, which are caused by the

influence of external force. In the investigatory process of

the bone’s biomechanical parameters, the compressive test

and the three-point flexural tests were used. During the

three-point flexural investigation, the sample was sup-

ported at both ends and loaded in the middle, resulting in a

flexure. After a specific range of flexure, the sample was

fractured. In obtained results, there were no significant

differences in the values of the stress determined at the

point of maximal load and the energy stored in the samples

for proportional stress–strain limit (elastic region). There

were also no significant differences in the density of the

samples. The study shows that the enrichment of bisphos-

phonates causes yielding of the bone cement material. In

the presented data, we conclude that use of pamidronate

implanted in bone cement did not have a detrimental effect

on its biomechanical properties. Therefore, the obtained

results encouraged us to perform further in vivo experi-

ments which assess the biomechanical properties of bones

implanted with BP-enriched bone cement.