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Abstract (300 word limit)
When a Physician discharges a patient from the hospital, he or she often wonders if the care administered is sufficient for full recovery. Remote Patient Monitoring (RPM) is modern day technology used by physicians to check on patients in their homes. MEDLINK is the first RPM device capable of verbal interaction with the patient and the physician, and capable of assisting the physician to acquire a diverse range of physiological parameters (Blood Pressure, ECG, Blood Glucose, Blood Oxygen Saturation, Heart rate, Pulse, Electromyography Body Temperature, Respiratory Rate, Spirometer, etc.). It is programmable by the physician to acquire the specific physiologial paramter(s) desired for a particular patient. The device guides the patient through the process of acquiring the physician-requested data, tranmsits it to the physician's phone and e-mail, and allows for physician-patient communication if there are data abnormalities. Clinical Trial for the innovative MEDLINK device is being designed and implemented in Zamfara State, Nigeria. for six (6)  months. Fifty (50) MEDLINK units are designed, created, and produced by Product Engineers in RACETT NIGERIA LTD., Zone 8, FCT, Abuja, Nigeria. There are four major hospitals in Zamfara. For two (2) of those hospitals, twelve (12) MEDLINK units will be given to 12 qualified government-employed physicians/doctors, and the other two, thirteen (13) MEDLINK units will be given to 13 qualified government-employed physicians, one to each of them to be used for RPM of their patients. For a patient with cardiovascular disease, he/she will perform RPM with MEDLINK for four (4) weeks, reporting twice daily (morning and night). For respiratory disease, it will be four weeks, reporting once daily (afternoon), and for musculoskeletal diseases, it will be two weeks, reporting twice daily (morning and night). In-depth and extensive procedures and results of the Clinical Trial will be proviced. 
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Figure 1. Innovative MEDLINK device for Remote Patient Monitoring
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