Orthognathic positioning system to transfer virtual plan to operating field

Virtual planning in orthognathic cases includes 3D printing of digital occlusal splints, fixation devices with predefined surgical attachment points. This will allow transfer of virtual plan to operating field. This will help to fix bone segments in the required positions maintaining the condyle in glenoid fossa in bimaxillary procedures. Cases will be presented to describe the steps using this method.