Title: Digital Occlusion Using the T-Scan 10 System in Daily Dental Practice

Robert B. Kerstein, DMD

Former Assistant Clinical Professor, Department of Restorative Dentistry, Tufts University School of Dentistry, Boston, MA 02111, USA

Occlusion is a complex neurologic science that involves the interplay between teeth, muscles and the Temporomandibular Joints. Occlusion however, is taught biomechanically, absent of true interocclusal functional measurements of the occlusal force and timing of the contacts that affects patient’s neurologic health and comfort every time they use their teeth/prosthesis. The T-Scan 10 technology makes it possible to precisely control the occlusal forces and timing with natural teeth, dental implants, and prosthodontic restorations, offering patients predictably improved outcomes, while minimizing frequent common post-insertion occlusal adjustments that often don’t resolve the patient’s comfort issues, despite the dentist’s best efforts.

This course will present a modern, evidence based, and systematic approach to Digital Measured Occlusion, that employs the T-Scan 10 to treat common occlusal complications that appear in everyday clinical practice. T-Scan 10 data sets guide the clinician to deliver comfortable, successful restorations, while eliminating the hit or miss subjectivity of using articulating paper, while overcoming the occlusal adjustment limitations that intraoral scanners and virtual articulation have during case insertion.  Because T-Scan accurately treats patients’ occlusal problems in MIP1-15, splints are less necessary.  Many clinical cases will illustrate how the T-Scan system digitally diagnoses and treats to high-precision occlusal outcomes.

Figure 1 – The T-Scan 10 desktop with an imported implant prosthesis .stl file from an intraoral scanner aligned with the T-Scan force data. At this case insertion, 3 of the 11 implants are in danger of absorbing too much occlusal force (#s 1-22, I-24, I-26), as they triggered the T-Scan 10 Implant Overload warning.

References

- Qadeer S, Ozcan M, Edelhoff D, van Pelt H. Accuracy, Reliability and Clinical Implications of Static Compared to Quantifiable Occlusal Indicators: A Literature Review. EurJ Prostho Rest Dent. 2021; D.O.I.10.1922/ EJPRD_2202Qadeer12

- Harty, M., Lowe, M., Kerstein, R.B., & Radke, J. A Force reproduction analysis of two recording sensors of a computerized occlusal analysis system. Journal of Craniomandibular Practice, 2006;24(1):15-24. 73.

- Koos B, Höller J, Schille C, Godt A. Time-dependent analysis and representation of force distribution and occlusion contact in the masticatory cycle. Journal of Orofacial Orthopedics 2012; 73:204-14. 75.

- da Silva Martins MJ, Caramelo FJ, Ramalho da Fonseca JA, Gomes Nicolau PM. In vitro study on the sensibility and reproducibility of the new T-Scan® III HD system. Revista Portuguesa de Estomatologia, Medicina Dentária e Cirurgia Maxilofacial, 2014; 55:14-22 76.

- Kerstein RB, Radke J. Average chewing pattern improvements following Disclusion Time reduction. Cranio. 2017;35(3):135-51. 2. 78.

- Kerstein RB, Wright N. Electromyographic and computer analyses of patients suffering from chronic myofascial pain-dysfunction syndrome: before and after treatment with immediate complete anterior guidance development. J Prosthet Dent. 1991;66(5):677–86. 3.

- Kerstein RB. Reducing chronic masseter and temporalis muscular hyperactivity with computer guided occlusal adjustments. Comp Contin Ed Dent. 2010;31(7):530-4, 536, 538 passim. 80.

- Kerstein RB, Radke J. The effect of Disclusion Time reduction on maximal clench muscle activity levels. Cranio®. 2006;24(3):156–65. 10. 81.

- Kerstein RB, Radke J. Masseter and temporalis excursive hyperactivity decreased by measured anterior guidance development. Cranio®. 2012;30(4):243–54. 11. 82.

- Yiannios N, Kerstein RB, Radke J. Treatment of frictional dental hypersensitivity (FDH) with computer-guided occlusal adjustments. Cranio. 2017;35(6):347-57. 14. 84.

- Thumati P, Sutter B, Kerstein RB, Yiannios N, Radke J. Changes in the Beck Depression Inventory - II Scores of TMD Subjects after Measured Occlusal Treatment. Adv Den Tech. 2018;1(1):1-13.

- Thumati P, Poovani S, Bharathi B, Mounika A, Kerstein RB, Radke J. A Disclusion Time Reduction Randomized Controlled Occlusal Adjustment Trial. Adv Den Tech. 2020;2(2):1-23. (Epub) https://adtt.scholasticahq.com/article/12683-adisclusion-timereduction-randomized-controlled occlusal-adjustment-trial

- Kerstein RB. Disclusion time measurement studies: a comparison of Disclusion Time between chronic myofascial pain dysfunction patients and non-patients: a population analysis. J Prosthet Dent. 1994 Nov;72(5):473–80. 7.

- Kerstein RB. Treatment of myofascial pain dysfunction syndrome with occlusal therapy to reduce lengthy Disclusion Time – a recall evaluation. Cranio®. 1995;13(2):105–15. 92.

- Kerstein RB, Chapman R, Klein M. A comparison of ICAGD (immediate complete anterior guidance development) to ‘mock ICAGD’ for symptom reductions in chronic myofascial pain dysfunction patients. Cranio®. 1997;15(1):21– 37.

Biography

Robert B. Kerstein received his D.M.D. in 1983, and his Fixed and Removable Prosthodontic certificate in 1985, both from Tufts University School of Dental Medicine. In 1984, he began studying the original T Scan-I technology, and since that time, studied all 7 T-Scan versions. His 38 years of T-Scan research has made him the leading Computerized Occlusal Analysis author, being published in the Journal of Prosthetic Dentistry, Cranio, Quintessence International, PPAD, Implant Advanced Clinical Dentistry, Oral and Maxillofacial Implants, and Advanced Dental Technologies & Techniques. Additionally, Dr. Kerstein has edited 5 research volumes about the T-Scan technology’s many clinical applications.

Presenting Author details:

Robert B. Kerstein DMD 
001-617-966-5266

38 Copperwood Dr.

Stoughton, MA. 02072 USA

E mail - tmjdoc@ix.netcom.com

Website -  www.drrobertkerstein.com

Category: (Oral presentation)