MAGNETS: A PANACHE FOR  PROSTHODONTIC REHABILITATION

ABSTRACT

Magnets have generated great interest within dentistry. Magnets have been used widely as retentive devices in overdenture techniques, maxillofacial prosthesis, and obturators. Earlier use of magnets was limited due to the unavailability of small size magnets, but after the introduction of rare earth magnets and their in smaller sizes, their use has increased considerably. They can be placed within prostheses without being obtrusive in the mouth. Recently developed hard magnetic substances such as samarium-cobalt and iron-neodymium-boron magnets (Fe14Nd2B) provide stronger magnetic force per unit size than the earlier open-field aluminum-nickel-cobalt magnets which are susceptible to corrosion by the saliva and provide weak retentive force.

Advantages include ease of cleaning, ease of placement and removable for both dentist and patient and persistent retention with number of cycles after repeated removal and placement. Their poor corrosive resistance within oral fluids can be overcome by encapsulation within a relatively inert alloy such as stainless steel or titanium.

This poster highlights the evolution of magnets and their applications in prosthodontics.

Dr. Prashanth Redddy

Dr. Ashfaq