Title:-patient monitoring system

Name:-Yonas Abebaw

The patient monitoring system is the system that monitoring the overall health status of any human being and announce it the user. The purpose of this study is to investigate into the practical problem that a certain doctor has attended or followed up pretty much patients at a glance in which the practical realities dictates otherwise option. In the course of doing it, I have designed a working model which incorporates sensors to measure various patient monitoring parameters like body temperature of a patient, monitors status of the saline status, blood pressure monitoring systems and also processing device (microcontroller) has been used for analyzing the inputs from the patient.

For this purpose that inputs were taken from the patients by using seniors, such data were processed in the way what we need in microcontroller and then the possible outcome could be obtained from. Whenever  the temperature exceed  normal range of values, when the saline status or blood  falls below the preset level or  when any patient presses the emergency call switch  provision has been made for an audio alert.

I have every hope that this study does have multi-dimensional significance to our humbled society in the medical application and better inputs into practice using incorporating heart beat rate, and apart from this, it will be used for dental sensors and annunciation system as well. It is therefore paramount used in health care as a patient care device.

Biography

I have diploma in electronics & electricity  and computer science also I have been learning degree program in engineering and am certified national exam (COC) in electronics & electricity and computer science. I am working in Ethiopian public health institution (EPHI) also I have my privet PLC company; by this company I have done other electricity and electronics devices for a certain PLC here in Ethiopia. .

Presenting author details 
Full name:-Yonas Abebaw
Contact number: -+251910219572/ +251947388172
E-mail account:-Yoniantony@gmail.com
Category: (Oral presentation/ Poster presentation)