# Green Chemistry used to Remediate Bulk PFAS in Contaminated Waters - Foam Fractionation.

D. Burns, S. Phillips, P. Murphy, G. Brickle, S. Posselt, A. Wells. OPEC Systems, Australia

Statement of the Problem: Fluorochemicals containing fully or partially fluorinated carbon chains, including a specific category known as PFAS, have emerged as potential contaminants of concern in ground, surface and landfill leachate waters. Separation/ extraction of PFAS, including the PFOS, PFHxS, PFOA, and FTS’s  have proven difficult.

The Purpose of this presentation is to provide an account of how Green Chemistry was used to develop a laboratory & field trial conceptual engineering design to gain commercial advantage.

Methodology & Theoretical Orientation: Application of aqueous film-forming foam (AFFF) is used to extinguish high temperature hydrocarbon fires and was hypothesized that removal from contaminated waters could also be accomplished by foaming. The principles of Green Chemistry were used to identify potential treatment candidates possessing a favourable position on a technology comparison cost curve and evaluation against traditional treatments. Rapid foam fractionation was developed including a hyper-concentration step. The methodology was confirmed by laboratory bench-scale testing, treatability trials & is pending a full-scale 3yr field trial in Australia.

Findings: Foam fractionation was found to remove 99% of priority PFAS compounds across concentrations ranges 0.5ug/l - 20mg/l. Separation & removal time occurred within 5-45minutes, dependent upon starting concentrations.

Experiments found that longer chain (≥C6) PFAS were highly amenable to separation.

Conclusion & Significance: Foam Fractionation represents a simple, efficient and elegant method to remove bulk PFAS from contaminated water, located forward of other specialised polishing techniques capable of obtaining a combined cleanup target PFOS + PFHxS in drinking water or 99% ecological trigger value of 0.07ug/l & 0.00023ug/l respectively. Foam fractionation offers significant cost savings in a multi-stage water treatment plant.

Biography

David Burns is an analytical chemist with a B.Sc from Newcastle University and former co-founding owner of LabMark Laboratories in 1997. David now applies his chemistry skills in the review of data quality reviews for consultants & accredited site auditors, undertakes laboratory bench-scale remediation trials (ISCO, ISCR, customised methodologies) and has a passion for applying the principles of green chemistry & industrial ecology to seek commercial advantages in collaborative projects. David lives in Manly and loves visiting Tasmania with family.

Email: dburns@opecsystems.com

Notes/Comments: Applicable GC Principles by Anastas, P. T.; Warner, J. C. Green Chemistry: Theory and Practice, Oxford University Press: New York, 1998.

Prevention (P1)
It is better to prevent waste than to treat or clean up waste after it has been created.

Less Hazardous Chemical Syntheses (P3)
Wherever practicable, synthetic methods should be designed to use and generate substances that possess little or no toxicity to human health and the environment.

Safer Solvents and Auxiliaries (P5)
The use of auxiliary substances (e.g., solvents, separation agents, etc.) should be made unnecessary wherever possible and innocuous when used.

Design for Energy Efficiency (P6)
Energy requirements of chemical processes should be recognized for their environmental and economic impacts and should be minimized. If possible, synthetic methods should be conducted at ambient temperature and pressure.

Use of Renewable Feedstocks (P7)
A raw material or feedstock should be renewable rather than depleting whenever technically and economically practicable.

Reduce Derivatives (P8)
Unnecessary derivatization (use of blocking groups, protection/ deprotection, temporary modification of physical/chemical processes) should be minimized or avoided if possible, because such steps require additional reagents and can generate waste.

Inherently Safer Chemistry for Accident Prevention (P12)
Substances and the form of a substance used in a chemical process should be chosen to minimize the potential for chemical accidents, including releases, explosions, and fires.