Artificial Recharge of Natural Aquifers using treated Grey water

Abstract

Sustainable development aims that growth must be environmentally sound, build prosperity for today’s population and continue to meet the needs of future generations.

The worldwide fascinated field of interest is the sustainability of domestic water. How to meet the future challenges? Sustainable chemistry even challenges in water area due to limited resources of ground water.  Here is the novel approach for meeting the sustainable challenges of the future generations.

Artificial recharge of natural aquifers has been a challenging task though different methods and techniques are used. Artificial recharge can be done using any surplus surface water; namely river/lake water, storm water or treated wastewater effluent.

Therefore artificial recharge of natural aquifers using treated grey water is a novel approach and meets the sustainable challenges of water for future generations.

Greywater is the water collected from kitchen sink, dishwasher, washing machine, and bathroom sinks. But the quality of different waste streams will be variable, depending on the types of cleaning products used, and they may have an impact on the soil. The water characteristics that may affect the aquifer include suspended solids (SS), dissolved gases, nutrients, biochemical oxygen demand (BOD), microorganisms, and the sodium adsorption ratio. Based on the parameters which may affect the aquifers, the grey water has to be treated. The preferable treatment for the grey water is passing through Ion exchange resin, filtration and using chlorine or nano silver particles as a disinfectant. Irrespective of the technique preferred for recharging the aquifers, the objective of the proposal is to recharge the aquifers using treated grey water.

The aim of the proposed is the grey water treatment in the first stage, later introducing the grey water into the natural aquifers after meeting the specifications of the ground water.

Image

Block Diagram of the process

Treatment of grey water

Treated Grey Water

Grey Water

Disinfection by Chlorine or silver nano partcilesnano particles

Treatment by  Ion Exchange Resin

Filtration

→               →	                   →                  →

Artificial Recharge of the Aquifers

Injecting into Aquifers using Tube wells

Treated Grey Water

Recharged Aquifers

Grey Water     →                                     →

Recent Publications

- Fast and Sensitive HPLC Method for the Determination of Zolpidem in Bulk and Formulation;World Journal of Pharmacy and Pharmaceutical Sciences, March 2016 Vol 5 (3), 1315-1322.

- New Visible Spectrometric Determination of Gemifloxacin in its pure form;

International Journal of Pharmacy and Pharmaceutical Sciences, September 2012 Vol 4, Suppl 4,618- 621.

- New Reverse Phase HPLC determination of Imatinib in bulk form; Journal of Pharmacy Research, July 2012, Vol 5 (7), 3923-3925.

- Determination of Aripiprazole in bulk formulation by Visible Spectrophotometric

Methods; Asian Journal of Research in Chemistry, Nov’ 2011 Vol 4(11), 1752-1754.

- New method development and validation of Tadalafil using UV- Visible

Spectrophotometer; International Journal of Research and Reviews in Pharmacy & Applied Sciences, September 2011 Vol 1(3), 172-178.

- Visible Spectrophotometric method development and validation of Aripiprazole in

pure form; Journal of Chemical, Biological and Physical Sciences, July 2011, Vol-1, 72-76.