Title: Studying the Sensitivity of FRA to the Faulty Transformer Tap Changer Based on Different Measurement Settings

Name: Al-Ameri S

Affiliation: Faculty of Electrical & Electronic Engineering, Universiti Tun Hussein Onn Malaysia, Parit Raja, 86400, Malaysia

Co-authors: M. F. M. Yousof

Abstract

Tap changer is an important component in power transformer. Although it has been reported that the tap changer has a high-level percentage of transformer failure. There is still leakage in exploring this issue. This paper investigates the influence of frequency response analysis (FRA) to faulty tap changer based on various measurement settings. There are two common faults in tap changer investigated which are coking and pitting. The FRA measurements were conducted at local power utility based on three-phase transformer rated at 500kVA. In addition, four different measurement configuration setup performed which are an end-to-end open circuit, end-to-end short circuit, capacitive inter-winding, and inductive inter-winding. The FRA measurements analysed using correlation coefficient. This study provides an advanced understanding of tap changer diagnosis. It is realized that the FRA method is sensitive to the change in tap changer condition at various different measurement connection

Biography (upto 150 words)

The author was born on 6 August 1986 in Yemen. He went to government high school Khalid Bin Al-waleed “Yafea”. He received B.Eng. in Mechatronics Engineering from Asia Pacific University (APU) in 2012. He received M.Eng. in Electrical Power from Universiti Tun Hussein Onn Malaysia (UTHM) from 2014 to 2016. Mr. Salem Al-Ameri attends in Universiti Tun Hussein Onn Malaysia for Doctor of Philosophy in Electrical Engineering.

Email ID: mgammal10@gmail.com

Presenter Name: Al-Ameri S.

Type of Presentation: Oral

Contact Number: +60182025592