Risk of Microbial Contamination in Dental Practices

Roomana Afroz1, FARRAH BILAL1, MISHAL BILAL2

1Nishat paramedical collage Pakistan

2Shifa collage of medicines Pakistan

Prevalence of Fungi and bacterial oral infections are common in our society due to cross contamination. Bacteria and fungi have ability to form a biofilm in water supply tubes of dental equipments. Therefore, it is observed that stagnant water and dental equipment are major source of cross contamination.  In dental clinics, the dental chair unit and aerosols those are used for irrigation during dental procedure is the most important item that favours the formation of microbe’s bio film in the water channels distribution network during absence of disinfection. This study has analysed the presence of microbes in the water of dental clinics and investigated the effectiveness of cleaning/disinfection agents on dental units. The collection points of samples were the water reservoirs of the dental units, dental unit waterlines and the water of the triple syringes.  Identification of microorganism was performed on the basis of their macro morphology and microscopic structures. Main fungal and bacterial species confirmed in this dental unit belonged to the genera candida spp,  Aspergillus spp.,and Microcococcus luteus  . From initial results, it is observed that the hydrogen peroxide and silver ion-containing show long term effectiveness to maintain the quality of dental unit waterlines and output water.

Presenting author details 
Full name:  Roomana Afroz
E.mail address: drmana49@gmail.com

Category: (Oral presentation)