Optimization of HPTLC Method for rubiadin Using Response Surface Methodology (RSM)

Gupta T1, Mujeeb M

1 Phytomedicine Laboratory, School of Pharmaceutical Education & Research,

Jamia Hamdard, New Delhi-110062, India

Abstract:

Rubiadin, the main phytoconstituent of Rubia cordifolia is known to possess diverse pharmacological activities,that prompted the development of HPTLC for its better utilisation. The main aim of the present study was to maximize the quantification and isolation from the leaves of R. cordifolia and its estimation as Rubiadin by HPTLC. Response surface methodology (RSM) was used for the optimization of chromatographic conditions. The studied factor included: mobile phase proportion HPTLC technique used for quantification of rubaidin i.e. toluene : ethylacetate: formic acid.  RSM was based on a three-level, three-variable Box-Behnken design (BBD). The optimal conditions for HPTLC predicted by BBD were: extraction with toluene: ethylacetate: formic acid (9.8:0.2:0.1 v/v v/v), at 28±2ºC, for 20 min. The results of HPTLC was found more efficient for quantification of rubaidin. A facile, safe and quick rubiadin quantification  and optimization strategy was developed by a simple, validated HPTLC method.