Bioanalytical method development, validation & pharmacokinetics study of 5-Fluorouracil loaded nanoparticles

Saurabh Srivastava

Ph.D Scholar, ICMR-SRF

Department of Oral & Maxillofacial Surgery, King George’s Medical University, Lucknow, UP, India

Abstract:

Background:

5-fluorouracil (5FU) is a chemotherapeutic agent against different types of cancer.5FU loaded with nanotechnology can enhance efficacy over conventional drawback of 5-FU,such as short half-life,toxicity,low bioavailability and non-selective action.Pharmacokinetic profile of this advanced nano-formulation is needed to correlates with overall ADME (absorption, distribution, metabolism and excretion) process.

Purpose of the study:

In this study,development of the HPLC-UV method & validation perform in expression of specificity,precision,sensitivity,accuracy and stability of the developed 5-fluorouracil nanoparticles (5-FUNPs) and correlates & collects the valuable pharmacokinetics data. Methodology:

5-FUNPs formulated with polymer poly lactic co-glycolic acid with Oil-in-water/solvent evaporation.Characterizations of nanoformulation performed which included particle Size, stability studies.Analytical method developed and validated from HPLC-UV and applied to pharmacokinetic parameters.

Results:

The calibration curve plotted for 5-FUNPs was linear at 267 nm.The lower limit for the quantification found 10.13ng/mL. The size of 5-FUNPs was between 137 + 0.97 to 193 + 0.93 nm & zeta potential between 0.27 + 0.08 to 0.29 + 0.07mv on the side of positively charged. The highest peak for drug concentration, Cmax was 3.235±0.78 mg/L at highest time point, Tmax 7.21±2.52 hrs. The AUC (0-96) & AUC (0-∞) showed 8.89±4.98 mg/L-h and 9.57±3.77 mg/L-h respectively and t1/2 was 22.98±3.73 hrs.

Conclusion:

The results show a simple, specific, sensitive and stable HPLC-UV method for the quantitative determination of 5-FUNPs in plasma and successfully applied to the pharmacokinetic study after oral administration in rats.

Biography

SAURABH SRIVASTAVA

B.Pharm., M.Pharm., Ph.D Scholar, ICMR-SRF

Department of Oral & Maxillofacial Surgery

King George’s Medical University, Lucknow, UP, India

- Presently working as the Ph.D Scholar at Department of Oral & Maxillofacial Surgery,

King George’s Medical University and having almost 5 year research experience.

- Awarded I.C.M.R. National Senior Research Fellowship, New Delhi, India and yound Scientist.

- Completed his B.Pharm. from UPTU & M.Pharm. from AUUP, Lucknow

- Published around 20 research & review papers in National & International Journals.

- Trainee at Production department in “Uttar Pradesh Drug & Pharmaceutical Limited” (UPDPL), Lucknow.

- Trainee in Quality Control Section of “Lucknow Producer’s Co-Operative Milk Union Ltd” Lucknow.

- Member of the Organizing committee of Various National and International Conferences.

- Presented Various National and International Scientific Papers.

Presenting author details 
Full name: Saurabh Srivastava
Contact number: +91-9453059990
Email: saurabhadd09@gmail.com
Category: Oral presentation

Country: India

Institute: King George’s Medical University, Lucknow, India