Tube extender in the treatment of Ahmed Valve device tube retraction

El Afrit Mohamed Ali

Chief of Ophthalmologic department of Rabta Hospital

Tunisia

ABSTRACT

PURPOSE: To evaluate the management of tube retraction of the Ahmed glaucoma valve implant in eyes with refractory glaucoma.

PATIENTS & METHOD: The complications of Ahmed valve surgery in refractory glaucoma are very various. This retrospective study included 327 eyes from 189 patients with refractory glaucoma treated with the Ahmed glaucoma valve implant between February 1995 and January 2015 revealed 4 cases of tube retraction with increase of IOP. We reviewed the final intraocular pressure and incidence of complications in all patients.

RESULTS: In 327 cases, the tube retraction was only seen in 4 eyes.

The management of this complication was easy by using the tube extender.

We present one video of this surgical technic ; and in all 4 surgery ,a  fast decrease of IOP was seen

CONCLUSION: The management of tube retraction in Ahmed glaucoma valve implant seems to be effective and safe for the management the increase of IOP.