Acetylene Gas Sensor Based on the Tunable Laser Absorption Spectroscopy Method and the Correlation Spectroscopy Principle

Guzman-Chavez Ana Dinora, and Vargas-Rodriguez Everardo

In this work an acetylene sensor based on a tunable fiber laser and a correlation spectroscopy stage is presented. Here, it is shown that to implement a gas concentration sensor it is necessary that the fiber laser emission sweeps a fraction of the spectral region where one ro-vibrational absorption gas line occurs. Moreover, as the fiber laser only interacts with one absorption line of the target molecule, the selectivity of the sensor is very high. Furthermore, it is demonstrated that when the fiber laser emission fluctuated, the measurement errors were minimized by taking advantage of one correlation spectroscopy technique for which two optical channels are implemented. Numerical simulations describing the sensor principle of operation are provided and these are strongly supported by experimental measurements, which give confidence that this methodology can be applied to design other gas sensors.