Immune response to the implant used in the orthopaedics surgery is well known.

It’s being decades, when it was diagnosed as a problem in the form of allergic reaction to the implants put long back.

We hereby present two cases.

We found that in one case where ilizarov ring fixator was applied about two years back, he developed skin reaction in the form of blackening and itching.

When patch test done, the result was amazing as related to the implant that was used for the surgery.

We did several tests; we found nothing but same problems.

We had to remove the implant.

Patient skin problem cured and he was well after the removal of implant