Quality Control practices for Quantitative tests in Ethiopian Public Health Facility Laboratories

Habtamu Asrat, Hiwot Amare, Adino Desale, Sisay Kebede, Andargachew Gashu, Ashebir Gurmessa, Daniel Dejene, Awad Mohammed, Daniel Melese, Birhan Moges, Nebyou Yemanebirhan, Dereje Yenealem, Anteneh Tesema

Ethiopian Public Health Institute, Addis Ababa, Ethiopia

Corresponding author: habtamua94@gmail.com

Background: Quality Control (QC) in the clinical laboratory is a system designed to increase the probability that each result reported by the laboratory is valid and can be used with confidence by the provider to make a diagnostic or therapeutic decision. It is a critical component of quality assurance in the laboratory and laboratory tests without quality control is not reliable. This study used as a baseline information for quality control usage in public health facility laboratories in Ethiopia.

Methods: A cross-sectional study were conducted from November 1, 2017- December 31, 2017. Systematic random sampling technique was used to select hospital laboratories. Standardized questionnaire were developed to collect data from selected 71 public health facility laboratories nationwide.

Results: A total of 71 public health facility laboratories were participated in the study, of which 5 specialized, 6 referral, 20 general and 29 primary hospital laboratories and 11 were regional reference laboratories. Among the study participants 51 (71.8%) were used directly manufacturer’s set mean and standard deviation to monitor their quality control performance while 20 (28.2%) calculated their own mean and standard deviation. Out of 71 participants only 16 (22.5%) laboratories draw levey-jennings chart, of which 14 (19.7%) laboratories use westgard rules (3 labs use single rule and 14 laboratories used multi rules). Only 4 (5.6%) laboratories calculated their monthly sigma or SEC as a quality indicator. Forty two (59.5%) laboratories perform quality control lot verification during receiving new batch to their laboratory while 29 (39.5%) don’t do lot verification.  But 48 (67.6%) laboratories faced inconsistent or shortage of quality control supplies.

Conclusion: Although laboratory quality management system implemented in Ethiopia for the last 10 years, quality control practice showed a poor performance. Therefore, the national laboratory program should give attention to improve the quality control practice in the laboratory nationwide.