Evaluation of the safety of infant formula according to methylparaben content

Roya Khosrokhavar 1, Aida Alikhani 1,2 , Nooshin Adib 1 and Nafiseh Khansari 1,2*

1. Food and Drug Laboratory Research Center, Food and Drug Organization, MOH & ME, Tehran, Iran.

2. Department of toxicology, Islamic Azad University, Shahreza, Iran.

Breast milk is the best nutritional choice for infants, but in some cases breastfeeding is not possible and milk powder or infant formula is used instead of it. The base of infant formula is row milk and to prepare it for infant feeding, some supplements and additives should be added to it. Some formulas may contain ingredients that can be harmful for the health of babies. Preservatives are ingredients that may be added into row milk to provide its long shelf life. One of the most common preservative is methylparaben (Mep) which is the methyl ester of para-hydroxybenzoic acid. Parabens have estrogenic effects and can disrupt endocrine system. The estrogenic effects in boys may result in incomplete masculinization and sperm reduction and in girls it can increase the risk of early puberty and mammary cancer. Thus, development a validated method for the detection of parabenes is necessary. In this study a new high performance liquid chromatography (HPLC) method was developed and validated to detect MeP in infant formula. The calibration curve was linear in the range of 0.5-20 ppm with a correlation coefficient of ˃0.99. From the validation process, LOD and LOQ were calculated 0.2 and 0.5 ppm, respectively; also, recovery was in the range of 88.11-107.8%. RSD values for intra-day and inter-day precision were obtained 0.29-1.94 and 0.84-2.18%, respectively. Application of the method for eight different brands of infant formula indicated the presence of MeP only in one sample. Results indicated the validity and applicability of the proposed method.

Keywords: Methyl paraben, Infant formula, Milk powder, High performance liquid chromatography (HPLC)

Biography

Dr. Roya Khosrokhavar is pharmacist and has also completed her Ph.D. at the age of 29 years old from Tehran Medical University in food chemistry. She is the director of Food and Drug Laboratory Research Center of Food and Drug Organization of Iran. She has published more than 25 papers in reputed journals and conducted many theses of advanced educating students.

Nafiseh khansari is graduated of molecular and cellular biology. She is now M.Sc. student of Medical Toxicology. Her research interests are quality control of infant formula and also analytical and toxicological studies of contaminants and residues in food.

Presenting author details

Full name: Nafiseh Khansari

Contact number: +989183601879

Twitter account: -------

Linked In account: nafisekhansari@yahoo.com

Session name/ number: as mentioned above

Category: Poster presentation