Title: Effect of Temperature Control Liner Materials on Long Term Outcomes of Prosthesis Use

Name: Robert Johnston1, Danielle Sell1, Goeran Fiedler2, Anita Singh1

1 Widener University One University Place, Chester, PA, USA

2 University of Pittsburgh 4200 Fifth Ave, Pittsburgh, PA, USA

In some cases; diabetes, cancer, and trauma-related accidents - commonly associated with Veterans – can lead to limb loss and an indication for a prosthetic limb. The materials utilized in the making of a prosthesis affect the comfort and fit of the individual. Commercially available phase change material (PCM) prosthetic liners are designed to absorb heat that radiates off an amputee’s residual limb. To determine the effectiveness of the temperature-controlled PCM liners, a cohort of trans-tibial prosthesis users wear regular conventional liners for six months and PCM temperature control liners for another six months. In a double-blinded longitudinal cross over procedure; prosthesis utilization, physical performance, and gait symmetry will be compared between liners. Daily step count totals, participants' activity, physical performance, overall prosthesis assessment, and gait analysis are recorded using the Modus StepWatch, 2-minute walk tests, TekScan F-Scan walk evaluation, and a prosthesis evaluation questionnaire (PEQ). Current results indicate that temperature control liners lead to increased activity levels, physical performance, and gait symmetry. Overall, temperature control within a prosthesis liner proposes better residual limb health, leading to more efficient and comfortable prosthesis use.

Biography

Robert Johnston and Danielle Sell are current graduate students at Widener University studying Biomedical Enigneering. This work is supported by the Office of Assistant Secretary of Defense for Health Affairs, through the Orthotics and Prosthetics Outcomes Research Program, Prosthetics Outcomes Research Award under Award No. W81XWH-17-1-0700. Opinions, interpretations, conclusions and recommendations are those of the author and are not necessarily endorsed by the Department of Defense.

Presenting author details 
Full name: Robert Johnston; Danielle Sell
Contact number: 302-388-3046; 
Linked In account: Robert Johnston; Danielle Sell

Session name/ number: Track 7: Rehabilitation Methods
Category: Oral presentation