In a country like India, where the population is recorded at 1.3 billion and going through a phase of rapid urbanization, the number of people migrating to the urban areas is immeasurable and the amount of wastewater that is generated from various industrial activities is enormous. India is the 5th largest rubber producing country in the world. The states of Kerala and Tripura, accounts for maximum production of rubber in the country. An enormous amount of effluent is generated in the production of rubber from its latex. The extremely polluting nature of the effluent that is released onto the nature without any prior treatment has the potential to disbalance the environmental dynamics of the surrounding area. This study incorporates the technique of using micro algae consortium in lowering down the pollutant’s concentration in the wastewater. Results of this study has shown us that there is 54.8% reduction in TDS, 23.7% reduction in nitrite concentration, 34.7% reduction in nitrate concentration, 19.91% reduction in phosphate concentration and 33.4% & 40.8% reduction in COD & BOD load respectively.