IMPACT OF PREFABRICATED VERSUS CUSTOMIZED LUMBO-SACRAL ORTHOSIS ON FUNCTIONAL ACTIVITIES

ABSTRACT

BACKGROUND: The purpose of this study is to assess the impact of prefabricated and customized lumbo-sacral orthosis on patients with spinal problems in terms of functional independence and to ascertain the patient's preference of lumbo-sacral orthosis.

METHOD: Thirty subjects with spinal problems, aged 35±10, were studied. All subjects had previously been prescribed and were using lumbo-sacral orthosis to prevent the extent of pain. The impact of the brace was assessed by using FAS (functional activity scale).

RESULT: Lower functional activity scores were recorded with prefabricated lumbo-sacral orthosis when compared with customized lumbo-sacral orthosis.

CONCLUSION: Wearing a prefabricated as well as customized lumbo-sacral orthosis affected the independence level, but when compared prefabricated lumbo-sacral orthosis showed more restrictions on the functional activities of patient showing customized better than prefabricated lumbo-sacral orthosis. Future studies with larger sample size should explore the relationship between functioning with either lumbo-sacral brace.